EUROPEAN COMMISSION

EURO-MEDITERRANEAN PARTNERSHIP

Development of Tools and Guidelines for the Promotion of the Sustainable Urban Wastewater Treatment and Reuse in the Agricultural Production in the Mediterranean Countries

(MEDAWARE)

Task 3: Analysis of Best Practices and Success Stories

March 2004

Working Groups

Responsible persons for the preparation of the report:

Dr Dolores Hidalgo

Dr Rubén Irusta

Eng. Alfredo Sandovar

Eng. Ángel Fiel

Automation Automation, Robotics, Manufacture and Information Technology Center (CARTIF) – Boecillo (Valladolid)

Cyprus:

1. Dr Ioannis Papadopoulos, Agricultural Research Institute

2. Ms Stalo Anayiotou, Agricultural Research Institute

Jordan:

1. Prof. Khalid Hameed, Jordan University of Sciences and Technology

2. Prof. Munir Rusan, Jordan University of Sciences and Technology

Lebanon:

- Prof. George M. Ayoub, American University of Beirut

- Prof. Mutasem El Fadel, American University of Beirut

- Eng. Loai Naamani, American University of Beirut

- Mr Rabih Fayyad, American University of Beirut

- Ms Layale Abi Esber, American University of Beirut

Morocco:

1. Prof. Mohammed Mountadar, Université Chouaib Doukkali

2. Prof. Omar Assobhei, Université Chouaib Doukkali

Palestine:

- Dr Zaher Salem, Environmental Quality Authority

- Prof. Zaher Kuhail, Islamic University – Gaza

- Mr Mohammed Eila, Environmental Quality Authority

- Mr Taysir Abu Hujair, Environmental Quality Authority

- Mr Mohammed Keshta, Environmental Quality Authority

- Mr Karam Abu Jalala, Environmental Quality Authority

- Ms Zainab Zomlot, Environmental Quality Authority

- Ms Heba Al Agha, Environmental Quality Authority

- Ms Nyvine Abu-Shammallah Environment Quality Authority

- Mr Mohamed Tubail Environment Quality Authority

- Mr Yousef Mahallawi Environmental Quality Authority

- Mr Ibrahim Al-Shaf'e  Environmental Quality Authority

Turkey:

- Dr Idil Arslan Alaton, Istanbul Technical University

- Dr Gulen Eremektar, Istanbul Technical University

- Dr Melike Gurel, Istanbul Technical University

- Prof Aysegul Tanik, Istanbul Technical University

- Dr Suleyman Ovez, Istanbul Technical University

- Eng. Pelin Ongan Torunoglu, Istanbul Technical University

- Prof. Derin Orhon, Istanbul Technical University

- Assoc. Prof. Dr Ayşegül Aksoy, Middle East Technical University

- Prof. Dr Celal F Gokcay, Middle East Technical University

- Prof. Dr Gulerman Surucu, Middle East Technical University

- Prof. Dr Kahraman Unlu

- Asst. Umac Ozkan

- Asst. Erkan Sahinkaya

INDEX

Introduction	6

Recommendations of the Water Framework Directive	16

Current situation on wastewater treatment and agricultural reuse in the Mediterranean region 	35

Success stories on agricultural reuse of urban wastewater in Mediterranean countries 	44

Selected cases in Cyprus	44

Selected cases in France	59

Selected cases in Greece	64

Selected cases in Israel	68

Selected cases in Italy	80

Selected cases in Jordan	86

Selected cases in Lebanon	96

Selected cases in Morocco	107

Selected cases in Palestine	118

Selected cases in Portugal	122

Selected cases in Spain	124

Selected cases in Tunisia	144

Selected cases in Turkey	152

Other good examples on agricultural reuse of wastewater

all over the world	180

Selected cases in Australia	180	Selected cases in Kuwait	190

Selected cases in Mexico	193

Selected cases in Saudi Arabia	195

Selected cases in USA	197

Problems associated with reclaimed water reuse projects 	207

Good reuse practises 	212

Selection of wastewater reclamation facilities 	214

The cost of wastewater reclamation and reuse 	240

Additional references 	251

“water should not be judged by its history, but by its quality” - D. Lucas van Vuuren (Twenty-five years of wastewater reclamation in Windhoek, Namibia. J. Haarhoff & B. Van der Merwe).

Introduction

In this document many examples of the potential benefits of wastewater reuse in different countries will be present. Naturally, they are most obvious for the arid areas but the general increasing pressures on water resources all over the world should also make wastewater reuse attractive in other areas.

Te use of reclaimed water is usually evaluated in terms of the following reuse categories, also summarized in Figure 1:

Agricultural reuse: Historically, agricultural irrigation has constituted more than 50% of all reuse activities (Asano, 1998). Within the agricultural reuse alternative, irrigation with reclaimed water may be utilized for food crops (spray or surface irrigation), fodder, fibre and seed crops and pasture for milking animals.

Landscape irrigation: Urban irrigation of landscaped areas using reclaimed water represents the fastest growing reuse option. Because residential and commercial landscape watering comprise more than 40 % of the total water consumption in arid or semi-arid regions, substitution of reclaimed water for potable water in a dual distribution system can generate significant long-term benefits to a community´s water supply sources. Based on the potential for public exposure to reuse activities, reclaimed water irrigation of landscaped areas can be divided into the following sub-categories: golf course, cemetery, freeway median and greenbelt irrigation and parks, playgrounds and schoolyard irrigation.

Impoundments: man-made ponds lakes or reservoirs constructed to store or hold reclaimed water are referred to as impoundments. Depending upon public access limitations or use  restrictions, impoundments may be grouped under the following sub-headings: restricted recreational impoundments (recreation limited to fishing, boating and other non-body contact water recreation activities), non-restricted recreational impoundments (no limitation imposed on body contact water sport activities) and landscape impoundment (no public contact allowed).

Groundwater recharge: The use of reclaimed water for groundwater recharge and the control of saltwater intrusion may be accomplished through either injection wells and surface spreading basins. Recharge which represents an indirect potable water reuse option is employed to reduce, stop or reverse declines in groundwater levels due to aquifer overdrafting; provide a means to store treated effluent for future beneficial purposes and protect underground freshwater  in coastal aquifers against salt water intrusion. Examples of large groundwater recharge projects in USA include Water Factory 21, operated by the Orange Country Water District, San Jose Creek-Whittier Narrows Reclamation Plant, operated by Los Angeles County Sanitation District and the Fred Hervey Water Reclamation Project in El Paso, Texas.

Industrial reuse: Reclaimed wastewater has been utilized by industry for cooling water, process water and boiled feed water. To date, reclaimed municipal wastewater used as cooling water constitutes 99% of the total volume of industrial reuse water (Asano, 1998). Industries with potential process water reuse requirements include primary metal production , petroleum and coal products, tanning, lumber, textiles, chemicals, pulp and paper, food caning and soft drinks. Although the use of reclaimed water for boiler feed water is technically feasible, it has proven to be operationally difficult to achieve because of severe problems with scaling.

Livestock, wildlife and fisheries: Within this category, reclaimed water may be used for livestock and wildlife watering and fisheries habitat (warm water and cold water fisheries).

Figure 1. Wastewater reuses (Source: USEPA).

In many countries urban wastewater is used to irrigate agricultural land. The use of wastewater for irrigation is a way of disposing urban sewage water with several advantages. Wastewater contains a lot of nutrients, which make the crop yields increase without using fertilizer. Furthermore, sewage water is an alternative water source in arid and semi-arid areas where water is scarce. Besides these advantages, wastewater can contain heavy metals, organic compounds and a wide spectrum of enteric pathogens which have a negative impact on the environment and human health.

In 1989 WHO set guidelines for the maximum number of bacteria and helminth eggs in wastewater used for irrigation to protect farmers and consumers of crops. Treatment methods were developed to reduce the hazardous elements in wastewater before its use on agricultural fields. However, in many developing countries wastewater is still used without any treatment, as treatment plants are expensive and farmers are willing to use this nutrient rich water without treatment. Knowledge about costs and benefits of treatment in developing countries is limited, as is knowledge about the actual environmental and health risks of irrigation with untreated urban wastewater (Feenstra et al., 2000).

Wastewater reuse can be a matter of choice in general water management strategy. Worldwide, wastewater reclamation and reuse is estimated to represent a potential extra water resource amounting to approximately 15% of  existing water consumption. On a local basis this proportion can be significant higher (e.g., 30% of agriculture irrigation water and 19% of total water supply in Israel in the future). In view of the increasing pressure on all water resources, both in industrialized and in developing countries, supplementing water resources with reclaimed wastewater can not longer be neglected (Asano, 1998).

The Mediterranean region is characterised by the low level and irregularity of water resources, both through time (summer drought, interannual droughts) and through space (dry in the South). The region includes 60% of the world population with renewable national natural resources of less than 1,000 m3 water/inhabitant/year. The strong growth in urbanisation, tourism, irrigation and population can only increase tensions in many countries and regions where consumption has already reached the amount of available resources.

On the other hand, the volume of wastewater is also increasing in the Mediterranean region. Large areas may be supplied with recycled water which may also be used for different other purposes depending on the demand, the water characteristics, its suitability, etc. Consequently, there is a major potential use of recycled water in the region. It is, however, essential that the development of water reuse in agriculture and other sectors be based on scientific evidences of its effects on environment and public health. Although several studies have been conducted on wastewater quality and for different purposes, at this time, there are no regulations of water reuse at a Mediterranean level. With the development of tourism and Mediterranean food market, there is a need for sharing a common rationale for developing water reuse criteria on both sides of the Mediterranean (Kamizoulis et al., 2003).

According to the Blue Plan (Margat and Vallée, 2002), renewable water resources are very unequally shared across the Mediterranean basin with around 72% located in the North (Spain, France and Monaco, Italy, Malta, Bosnia-Herzegovina, Croatia, Slovenia, R.F. of Yugoslavia, Albania, and Greece), 23% in the East (Turkey, Cyprus, Syria, Lebanon, Israel, Palestinian Territories of Gaza and the West Bank, and Jordan), and 5% in the South (Egypt, Libya, Tunisia, Algeria, and Morocco). Countries of the Southern Mediterranean and Middle East region are facing increasingly more serious water shortage problems. Some of them have few naturally available fresh water resources and rely mainly on groundwater. Surface waters are already in most cases utilized to their maximum capacity. Groundwater aquifers are often over-drafted and sea and brackish water intrusion in coastal areas has reached threshold limits in some locations. Non-renewable deep or fossil aquifers are being tapped to varying degrees. Exploitation of non-renewable resources of Saharan aquifers is intensive in Libya, Egypt, Tunisia and Algeria. Desalination of brackish and seawater is already under implementation or planned in some countries despite its high cost. National exploitation ratios over 50%, or even nearing 100% in several Mediterranean countries (Egypt, Gaza, Israel, Libya, Malta, Tunisia) show that actual water consumption already exceeds the renewable conventional water resources. As a consequence, several problems appear all around the basin such as water and soil salinization, desertification, increasing water pollution, and unsustainable land and water use.

The Mediterranean basin is nowadays depending for its economic and social development on the agriculture (largest water use share reaching 61% on average, 42% to 84% of total demands) and tourism and, secondarily, on industry and other economic activities. Irrigated agriculture in competition with other sectors will face increasing problems of water quantity and quality considering increasingly limited conventional water resources and growing future requirements and a decrease in the volume of fresh water available for agriculture. Around the cities of the region, competition with other sectors often makes water the main factor that limits agricultural development. Policy makers have then been compelled to develop additional water resources as well as to preserve the existing ones. Reclaiming and recycling water is, among various measures, designed to encourage integrated and efficient management and use of water resources and is therefore becoming an important component of the national resources policy. The agricultural sector is influenced in the northern part by the common agricultural policy and in the Southern and Eastern parts by the agreements of agricultural exchange, and the future free trade area. Expansion of the irrigated area will continue in the southern and eastern countries with increasing demand for food and from the development of agricultural production for export markets. On the other hand, the irrigated sector will have to face major challenges with the future scenario of agricultural trade liberalization; a part of the water resources may be reallocated to high added-value export products instead of basic production or to industrial activities, tourism, and domestic water supply. Providing water quantities and qualities in compliance with the needs is one of the challenges facing the region (Kamizoulis et al., 2003).

Water recycling and reuse is meant to help close the water cycle and therefore enable sustainable reuse of available water resources (Figure 2). When integrated to water resources management, water reuse may be considered as an integral part of the environmental pollution control and water management strategy. It may present benefits to public health, the environment, and economic development. Recycled water may provide significant additional renewable, reliable amounts of water and contribute to the conservation of fresh water resources.

Figure 2. Benefits of water reuse.

It may be considered as a valuable source of water and nutrients in agriculture schemes and therefore contributes to reducing chemical fertilizers’ utilization and to increasing agricultural productivity. Reuse of recycled water, if properly managed, may alleviate pollution of water resources and sensitive receiving bodies. It may also contribute to desertification control and desert recycling. Saline water intrusion may be controlled in coastal aquifers through groundwater recharge operations. Other social and economic benefits may result from such schemes such as employment and products for export markets. It is, however, essential that the development of reuse prevents negative effects on environment and public health since wastewater content in mineral and organic trace substances and pathogens represents a risk for human health. Adequate treatment has therefore to be provided for the intended reuse (Kamizoulis et al., 2003).

The main reuse projects in the Mediterranean region are related to agricultural and landscape irrigation, and groundwater recharge. The management of wastewater in the Mediterranean varies from country to country, as do the criteria and their enforcement. Some countries have no wastewater treatment facilities and direct reuse of raw wastewater is occurring with serious health hazards and environmental problems. Others have a well-established national reuse policy. Moreover, wastewater treatment and reuse criteria differ from one country to another and even within a given country such as in Italy and Spain. Some of the main discrepancies in the criteria are, in part, due to differences in approaches to public health and environmental protection. For example, some countries have taken the approach of minimising any risk and have elaborated regulations close to the California’s Title 22 effluent reuse criteria, whereas the approach of other countries is essentially a reasonable anticipation of adverse effects resulting in the adoption of a set of water quality criteria based on the WHO (1989) guidelines. This has led to substantial differences in the criteria adopted by Mediterranean countries.

On the other hand, the increasing use of mineral fertilisers over the last decades has contributed to the appearance of numerous cases of water eutrophication, a new form of water pollution. The starting point of eutrophication is the increase of nutrient concentration (nitrogen and phosphorus) in a water mass, which is subsequently followed by an uncontrolled growth of primary producers and episodes of oxygen depletion due to microbial decomposition of algal organic matter. The excess nutrient loads reaching surface waters are usually associated to discharges from anthropogenic activities, which normally involve direct water usage instead of reuse of reclaimed effluents. Agriculture activities and livestock breeding are two of the main nutrient sources responsible for water eutrophication, as well as human – urban and industrial – wastewater discharges. Wastewater reclamation and reuse can be a suitable strategy for preserving the quality of natural waters, by suppressing effluent discharges and the associated nutrient contributions to receiving waters. Reuse of reclaimed water for agricultural and landscape irrigation as well as for environmental enhancement offers an adequate strategy for preserving natural water systems from eutrophication (Sala and Mujeriego, 2001).

Reclaimed water contains considerable amounts of nitrogen and phosphorus which can promote eutrophication of receiving waters; at the same time, agricultural and landscape irrigation requires systematic supplies of water and nutrients to be productive. A similar benefit can be obtained by using nutrients to develop trophic webs able to sustain wetland ecosystems, which have a high ecological value, but are in evident regression in many parts of the world. Thus, reclaimed water use either for irrigation or for environmental enhancement can be much more than an alternative water discharge and should be considered an additional component of the overall environmental protection system, together with the wastewater treatment itself, that can be used for improving natural water quality. This new approach should help politicians, planners, and developers to understand how water reclamation and reuse can provide a final and essential step in an integrated environmental protection strategy.

One of the newest applications for reclaimed water is environmental use for the restoration of those aquatic ecosystems affected by desiccation or pollution. In this case, the approach of the reuse activity is the opposite of that for agricultural or landscape irrigation. Whereas in the latter case the efforts are aimed at preserving public health (the effluents are disinfected, with or without a previous filtration step) and usually no specific treatment for nutrient removal is applied, in the case of environmental reuse it is necessary to provide a process to remove these elements, because otherwise the final result would be the eutrophication of the receiving waters.

Apart from the pond systems, generally well understood and easy to operate, another interesting option for the removal of nutrients in secondary effluents are the constructed wetland systems. Their high productivity makes them especially interesting for this purpose, since they are able to remove a large portion of nutrients from the water. This water can then be safely deposited in sensitive areas with a lower risk of eutrophication. The constructed wetland systems have a double benefit: on one hand, they are very efficient at reclaiming the water, especially with nitrified effluents, whereas on the other hand they provide areas with a high ecological interest because of their role of refuge for wildfowl and other wild animals.

If, with the use of reclaimed water for irrigation, the fate of the nutrients is to become part of the crops’ biomass, in the constructed wetland systems, part of the nutrients are used to create a trophic web and to enhance the development of different forms of life, starting with the dissolved inorganic compounds. The algae growing in these compounds will provide dissolved oxygen to the ecosystem and they will also be the source of food for other organisms like protozoa, insects or crustaceans who, in turn, will be the source of food for higher, predator organisms, including birds. Another portion of the nutrients is taken in by the macrophyte plants, which also provide shelter for these larger animals, especially for the waterfowl. So, these nutrients that otherwise could be pollutants if the water were discharged to the nearest water mass, turn into a complex, highly productive ecosystem which also cleanses the water.

With reservations called for by the unequal validity of the available data, from the examination of contemporary changes in total water demand (Figure 3) there emerges a noticeable difference between:

- the northern countries (Europe), with slow and a diminishing rate of growth, even decreasing in Italy;

- most of the southern and Middle Eastern countries with strong, sometimes accelerating growth (Egypt, Syria and Turkey) or with signs of slowing (Morocco and Tunisia).

On the other hand, stability or decreases are manifest in countries where the demand is limited by the offer: reduced or no residual availability in exploitable interior resources - particularly insular situations—and/or strategic uncertainties about shared exterior resources (Israel, Jordan, the Gaza Strip and Cyprus); or again the need to adapt demands to costlier unconventional offers (e.g. Malta, Cyprus).

Figure 3. Approximate changes from 1980-2000 of total water use and 2010-2025

trend projections in different Mediterranean countries, (Source: Margat, 2001).

Changes in irrigation water demands (Figure 4) are unequally identifiable depending on the country, as a function of the available data affected by consistency flaws in a few countries such as Egypt, Italy and Turkey where this demand is the strongest. The trends which emerge are in Europe either slightly and regularly increasing (Spain, Greece) or decreasing (France, Italy); stabilisation or regular decrease also affects countries in shortage already mentioned (Israel, Cyprus) where resource allocations go as a priority to communities and where irrigation efficiency progress (linked to the expansion of the sprinkling and microirrigation) has been more noticeable, i.e. a drop in the water quantities allocated per hectare.

Figure 4. 1975-2000 changes in irrigation water demands in the main Mediterranean countries according to available statistics and 2010-2025 trend projections, (Source: Margat, 2002).

On the other hand more or less strong growth is typical of the southern and Middle Eastern countries (e.g. Egypt, Libya, Morocco, Tunisia, Syria and Turkey) where the extension of irrigation has been motivated by the need to deal with the increase in food demand (even without succeeding in self-sufficiency), but also by the development of more profitable non-food crops for exportation (cotton in Turkey, Morocco and Tunisia) and thus contributing to balance food imports ("virtual water"); with the exception of Algeria where irrigation appears to be stagnating, if not declining.

The 2010 and 2025 projections (Figure XX) show various trends in the North and the South and East:

- significant growth, sometimes stressing the contemporary trend (Syria, Turkey) or breaking with it, as in Algeria where a resumption of growth is scheduled or sought;

- slowed or decelerating growth (Egypt, Spain, Greece, Libya, Morocco);

- maintained stability (France, Israel, Cyprus);

- drop in growth (Italy, Spain after 2010, Tunisia).

However in the middle, and especially long-term, projections of "irrigation water demand" in the southern and Middle Eastern countries rather express the water allocations to the farming sector set out in development plans. These allocations generally tend to diminish in proportion to the total projected water demands in these countries.

Benefits of water reuse can be summarized as follow (EUREAU, 2001):

· Water reuse can further public policy that emphasises the sustainable development of water resources and nature conservation.

· Water reuse introduces an additional tier of management and control.

· Recycled water is a reliable alternative source of water and technologies are now available to produce water with characteristics consistent with any intended use.

· Treated wastewater can be reused to maintain or supplement natural river flows, lakes and wetlands, helping to sustain the aquatic life that depends on them.

· Recycled water can ease the pressure on water resources needed for potable supply by helping to satisfy other urban needs such as street cleaning, irrigating parks, sports fields and open spaces, car washing, etc.

· Recycled water can help crop production and sustain agricultural communities.

· Recycled water can be cost-effective means of supplying nutrients for agricultural irrigation and of possibly avoiding the need for nitrogen removal at waste water works in sensitive areas.

· Recharging aquifers with reclaimed water can augment groundwater stocks, control water table levels and maintain hydraulic pressures, preventing salt intrusions in coastal areas

· Recycled water can contribute to the environmental quality of urban areas and to development of tourism, maintaining the amenity value of areas to which the public has access, like street and motorway verges, parks and golf courses.

· Water reuse can contribute to the restoration of damaged environment and watercourses and can help curb dust erosion.

· The use of treated wastewater can represent a more drought-proof alternative water source which can help maintain industrial production through cooling or heating uses and thus avoid economic losses in case of water supply restrictions.

· In particular circumstances and with proper precautions to guarantee public health, recycled water can contribute as a source for the production of potable water. This can represent a practical solution to supplying sufficient amounts of good quality drinking water to many people in the world, preventing disease and death.

All these benefits contribute to the ultimate objective of sustainable development.

Recommendations of the Water Framework Directive

(partially extracted from the article “The new water framework Directive: prospects for sustainable water policy for the coming decades” by Asger Meulengracht)

European experience with recycled water can help to solve problems already being encountered in other countries.

There are many countries in the world and many different approaches have been developed for water recycling regulations and guidelines to provide  effective measures to protect against risk to public health and the environment. Clearly economics is a key factor in the choice of philosophy. The developed countries have tended to adopt an approach which leads to conservative high technology/ high cost/low risk guidelines or regulations of which California’s water recycling regulations are the best known examples. Some countries have endeavoured to follow this regulatory approach to guidelines, but have not always achieved low risk in practice because of insufficient money, experience or regulatory controls. Limits of affordability have led some developing countries to follow the low technology/low cost/controlled risk path of the attributable risk approach that is embodied in the World Health Organisation Guidelines. The WHO approach aims to provide guidance that can be adapted to national conditions and constraints, and allows the introduction of threshold criteria devised from balancing risk and affordability.

In the absence of international guidelines, there are inconsistencies between countries in the guidelines that have between adopted. Even when the approaches are broadly similar, there is wide variation in the details. There is also inconsistency within individual nations as evidenced by the variations in the guidelines adopted by the different state jurisdictions in federations such as the USA and Australia. The absence of a unified scientific position increases community concerns about risk and can lead to unnecessarily conservative responses to proposed water recycling projects. For example, excessive concern about infection from parasites can lead to prohibitively expensive treatment requirements, or costly operating limitations that preclude the use of normal agricultural methods. Development of a common international framework will improve public confidence in water recycling, improve risk management and lower costs (Anderson et al., 2001).

The legal and administrative principles and obligations of the new sustainable European Community water policy constitute the framework within which the specific water policies of Member States will be developed. In September 2000 the European Parliament and the Council agreed on a new Water Policy for the Community by jointly adopting the Water Framework Directive. Long-term integrated planning finally became a cornerstone of Community water policy with wide ranging implications for spatial planning and water use.

The Water Framework Directive (2000/60/EC of 23 October 2000) combines protection of ecological status with long-term water use and sustainable development. It is a new instrument for spatial planning and integration of policies, a legal framework of common approach, principles, environmental and sustainability objectives. The obligations that this Directive involves are the protection of high ecological status and good surface water and groundwater status. The objectives are focused on respecting protected nature and drinking water areas, banning direct discharges to groundwater and pricing of water use.

The Water Framework Directive sets common objectives for water policies and establishes a coherent, legal and administrative framework, which may facilitate implementation of these  objectives through co-ordinated measures within an overall planning process. The policy moves from protection of particular waters (fish waters, raw water for drinking water,…) to protection and use based on an overall appreciation of the hydrology and ecology of the entire natural cycle of each river basin.

The Directive does require that existing water of a high ecological status must not deteriorate. However, for most waters the main purpose is a combination of sustainable use of water and protection  of the aquatic environment.

The essential requirements of the Water Framework Directive are as follows: the Directive establishes a common approach, objectives, basic measures and common definitions of ecological status of aquatic ecosystems. Focus is on water as it flows naturally through rivers towards the sea, taking into account natural interaction of surface water and groundwater in quantity and quality and covering the whole of a river basin district including estuaries, lagoons and other transitional waters and coastal waters. It requires a combined approach to discharges with control at source combined with environmental quality standards for the receiving waters. 6-years Management plans are required with co-ordinated programmes of measures to ensure good status of water by 2015, when main objectives of the Directive have to be achieved.

Programmes of measures must take into account all sources of pressures and impacts on the aquatic ecosystems, including impacts from agriculture, energy production, transport and spatial planning.

The proposal introduces charging requirement for recovering the cost for water services provided for water uses and, on a long term basis, prepares for the recovery of environmental and resource costs. The Directive contains a strong component of public participation with the requirement that all river basin management plans and updates must undergo a public consultation  process involving the public in general, as well as all interested parties.

Article 1 of the Directive establish the purpose to achieve in the forthcoming years in order to protect inland surface waters, transitional waters, coastal waters and groundwater:

(a) prevents further deterioration and protects and enhances the status of aquatic ecosystems and, with regard to their water needs, terrestrial ecosystems and wetlands directly depending on the aquatic ecosystems;

(b) promotes sustainable water use based on a long-term protection of available water resources;

(c) aims at enhanced protection and improvement of the aquatic environment, inter alia, through specific measures for the progressive reduction of discharges, emissions and losses of priority substances and the cessation or phasing-out of discharges, emissions and losses of the priority hazardous substances;

(d) ensures the progressive reduction of pollution of groundwater and prevents its further pollution, and

(e) contributes to mitigating the effects of floods and droughts

and thereby contributes to:

- the provision of the sufficient supply of good quality surface water and groundwater as needed for sustainable, balanced and equitable water use,

- a significant reduction in pollution of groundwater

- the protection of territorial and marine waters, achieving the objectives of relevant international agreements, including those which aim to prevent and eliminate pollution of the marine environment, by Community action under Article 16 (3) to cease or phase out discharges, emissions and losses of priority hazardous substances, with the ultimate aim of achieving concentrations in the marine environment near background values for naturally occurring substances and close to zero for man-made synthetic substances.

The Water Framework Directive will achieve its objectives through the following structures:

- Creating an overall framework in the Community national, regional and local authorities  and the social partners may develop integrated and coherent water management.

- The Water Framework is the conceptual and procedural framework within which all existing water legislation must be co-ordinated and complied with.

- Requiring transparency through publication and dissemination of information and through public consultation. This participatory process will also add an important element of control and quality insurance.

- Establishing a sound basis for collecting and analysis a large amount of information on the aquatic environment and the pressures upon it.

The Directive makes a special mention referring cost of water and charges for water use. Securing adequate supplies of a resource for which demand is continuously increasing is one of the drivers behind what is arguably one of the Directive´s most important innovations: the introduction of an economic analysis of water use within river basins and an obligation to charge for recovery of costs for water services. Water must be priced and users must take adequate contributions to the costs of using water, divided at least into industrial, agricultural and household users.

The Commission originally proposed that the price charged to households, farmers and industry for water services by 2010 should reflect the true costs, such an abstraction and distribution of fresh water and the collection and treatment of wastewater. It was also proposed to prepare for charging for environmental and resource costs, once methodologies were established, in order to discourage practices, with cause uncharged damage to the environment and/or depletion of water resources for future generations.

But the final Directive, more ambiguously says: “taking account of the principle of recovery of the costs of water services, including environmental and resource costs”, “provide incentives for using water  resources efficiently” and “ensure an adequate contribution of the different water uses, disaggregated into at least industry, households and agriculture for the recovery of costs”. Current charges for water use are not generally in line with these provisions. In particular the agriculture sector is generally receiving referential treatment by not paying the real costs of water, neither the amounts consumed nor the large infrastructures that have build to manage water for agricultural use.

In many countries, in particular for agriculture, the principle of full cost recovery will introduce considerable changes even in the moderate version adopted in the Directive. But it is unreasonable that certain groups of economic actors, the tourist industry and in particular farmers, whose activities have important negative impacts on the aquatic environment, do no pay the real price for water.

It is also necessary to start preparations for the time where community agricultural products have to meet the world market prices as required within the World Trade Organization and for the plans to make a free trade area in the larger Mediterranean area by 2010. This opening inevitable will mean that subsidies in the form of free or cheap water cannot continue. Incentive must be created for changing both, crops and practices, in particular irrigation practices e.g. rapidly moving away from gravity irrigation. Prices reflecting the real cost would be a strong incentive for such a policy.

However, on a more positive note, the more visionary part of modern agriculture has begun to realise its role as a caretaker of the environment and the natural resources. We see more and more a tendency of targeted efforts to adjust agricultural production methods to a balanced interaction with the environment in order to reduce and improve water consumption and interact better with the environment. A new concept has evolved in Community language: the “European multifunctional agriculture”, where cultural traditions (family ownership), social structure and regional development (keep the countryside and remote areas populated functioning) combined with environmental services (adjusting to the environmental conditions and maintaining landscape and nature values).

There are explicit requirements in Community legislation that agriculture must comply with environmental legislation. Co-operation between water companies and farmers are virtually  paid to produce and protect drinking water resources through better agricultural practices. Moreover, it is also incompatible with the principle of the polluter pays of the Treaty. Unreasonable both in terms of protecting the environment for the future and in terms of the other groups, who will have to bear the cost via consumer prices, taxes or other means. It should be emphasised that the Water Framework Directive, does not attempt to harmonize prices for water across the Community. This would run counter to the principle of recovering real cost and paying real prices for water use and run counter also the principle of the polluter pays. Implementation of charging provisions is strictly a national issue.

The objective of ensuring “good water status” takes into account the natural climatic and ecological variations across the countries. If aquatic ecosystems have developed in adjustment to a Mediterranean climate and ecology, this will be reflected in the practical implementation of what good ecological status is, e.g. for a river, which naturally dries out part of the year. The definition also takes into account the very particular and often very difficult situation of islands with little surface water and groundwater and often also low rainfall and long dry seasons. Moreover, the Directive does not required completely undisturbed ecological status.

In the Framework Directive, “water status” is defined in such a way that its ecological component uses the natural ecological status on a specific location in a specific aquatic ecosystem as its point of reference. What constitute good ecological status will always be measured in comparison with the natural ecological status for a specific water bodies at a specific location. The ecology of aquatic ecosystems in areas with naturally low precipitation and large seasonal variation in water availability is naturally adapted to such a dry conditions and harsh variations.

Under the new Water Framework Directive, water cannot be abstracted, transferred or diverted in large quantities without a throughout examination of the possible environmental impacts. This is likely to reduce transfer of water and give incentives towards a mix of other instruments, including demand management, charging, recycling and re-use of water, development of less water consuming technologies and agricultural practices, land use policies, etc. However, the Directive does not in itself prohibit or prevent water transfer and water diversion but it does give incentives for more balanced solutions, reducing the incentive for building large, expensive and often environmentally problematic infrastructures. First of all by the requirements that good water status must be achieved also in the areas of  from where water is transferred or diverted. Focus of the Directive is on the ecology and quality of the aquatic environment and as a new element also on water quantity is mainly treated s an ancillary parameter for ensuring this. In addition, the requirement for a detailed economic analysis of the cost of water use will also create new incentives for changes by exposing the real figures for investments, running costs, environmental impact and for the distribution of the costs between user groups for water use.

The requirements and timetable of the Water Framework Directive for the coming years are the following:

By 2004 three important tasks must be completed within each entire River Basin District:

- Analysis of the natural characteristics of all surface waters and groundwaters within each river basin, including natural vulnerability.

- Review of the impact of human activity on the status of surface waters and groundwaters. This include all pressures on the aquatic environment from point and diffuse sources as well as from agriculture, energy production, transportation infrastructure and activity, tourism, etc.

- An economic analysis of water use within the River Basin District taking account of long-term forecast of supply and demands for water. The analysis must also make judgements about the most cost-effective combination of measures in respect of water uses.

- In addition, final specification of reference and the final location and boundaries of all bodies of water must be ready.

By 2006:

- Monitoring programmes must be made operational.

- The public consultation process for drafting river basin management plants starts with the publishing of a work programme indicating timetable and procedure.

By 2007 an overview of significant water management issues must be published. All major problems through the river basin districts must be identified and described. This so-called “scooping” should always form part of an overall assessment of environmental and other impacts of major plans and programmes.

By 2008:

- A draft river basin management plan must be made available to the public and to interested parties for public consultation. Minimum half a year must be given for its discussion. Based on the analysis required by 2004 specific information on the natural characteristic of waters, the pressure, impacts and current status of all waters as well as an analysis of the economics of water use in the river basin district must be included in such drafts. Furthermore, a programme of the measures, which will be taken over the 6-years of implementation of the River Basin Management Plan must be included. Explicit specification of its intended and expected impact on improving and protecting water status must be made. The River Basin Management Plan must also include a programme for monitoring status and development within the river basin district.

- Public access must be given to all information and data, which has been used for preparing the draft management plant.

By 2009 final River Basin Management Plans must be agreed, including a description of the status of all waters and all measures, which are planned in order to protect high status waters and ensure good status of all other waters by 2015.

The obligation to assess environmental impacts, to examine alternatives and to take measures to reduce the impact of any of the solutions chosen is in fact a strengthening of the Directive of Environmental Impact Assessment (EA), in particular because it is now obligatory to respond to the results of the analysis and to take compensatory measures if a project is carried out in spite of a negative impact analysis. The Water Framework Directive thus makes such EIA-assessments obligatory, where the EIA Directive distinguishes between obligatory and non-obligatory cases. The Directive also makes it obligatory to follow the results of the EIA-assessment in much stricter terms than the EIA-Directive, and the criteria for the assessment may be seen as more than EIA-Directive.

It is evident that the natural environment and in particular the natural water resources and their ecological status is subject to environmental pressures, which will, if uncorrected, in the long term undermine hydrological and ecological sustainability. The main driver of this development is in particular the irrigation –based parts of the agricultural sector.

Demand management and reduced water consumption, inter alia through the use of water charging and other economic incentives as well as the use of less water consuming technology, re-use of waste waters, changes in crop choices and development of efficient irrigation systems must be explored.

It is important to acknowledge that the vulnerable situation of some Mediterranean areas is a fundamental challenge to the conventional thinking or logic behind the traditional economical and social development where technological solutions and means are being employed to allow an in principle unsustainable development to continue. The Water Framework Directive should be seen as an incentive for finding solutions, which build on a genuinely better balanced between exploitation of available resources and protection and improvement of the natural resources and natural ecology.

In general, the adoption of standards for wastewater reclamation and reuse follows the problems encountered in each country. As a result, for example across Europe, the legal status of wastewater reuse is not uniform. Many European countries and most northern European countries (e.g. The United Kingdom, Belgium, The Netherlands) do not have any specific legislation on the matter. Regarding European Mediterranean countries, France has national recommendations, Italy a national law and Spain various regional regulations. Portugal and Greece are considering developing national guidelines.

We will study now some of the related cases:

France:

In line with its administrative tradition, France has enacted a comprehensive national code of practice under the form of recommendation from the Conseil Supérieur d´Hygiène Publique de France (CSHPF). The 1991 “Sanitary Recommendations on the Use, after Treatment, of Municipal Wastewaters for the Irrigation of Crops and Green Spaces” use the WHO guidelines as a basis, but complement them with strict rules of application. In general the approach is very cautious and the main restrictions given are:

- the protection of the ground and water resources

- the restriction of uses according to the quality of the treated effluents

- the piping networks for the treated wastewaters

- the chemical quality of the treated effluents

- the control of the sanitary rules applicable to wastewater treatment and irrigation facilities

- the training of operators and supervisors

The CSHPF calls for a strict observation of these restrictions to ensure the best possible protection of the public health of the populations concerned. The WHO guidelines are introduced in the second point, but all the points covered are accompanied  by very precise list of requirements, such as the performance of hydrogeological studies, the characterization of the waters to be reuse, the respect of distances from inhabited areas, the delivery of administrative authorizations, strict monitoring, and the like. In fact, the authorizations for wastewater reuse are attributed on a case by case basis after review of a very detailed dossier. There are nor explicit strict standards for minerals or trace organics, but the experts providing their advise before delivery of the permits follow recommendations and usual practices and can in every case refuse the authorization.

January 3, 1992 France´s water law required each city to define the zones to be served by public municipal sewerage, storage, treatment and disposal of reuse of wastewater. This was the first time wastewater reuse appeared in a French regulation. Wastewater reuse was thus acknowledged not as a marginal water supply but as an alternative solution to water discharge. A June 3, 1994 decree provided the basis for water reuse rules in France. First, it clearly stated the treated effluents can be used for agricultural purposes, but only if water projects are operated without any risk for the environment and public health. Second, wastewater treatment requirements, irrigation modalities and monitoring programs must be defined after an order of the Ministries of Health, Environment and Agriculture  (Faby et al, 1999).

France has irrigated crops with wastewater for years (close to a century), in particular around Paris (Figure 5). This practice is still going on in the Achères region, where some of the wastewater is used after screening and settling, but is likely to be discontinued soon. Interest in wastewater reuse rose again in the early 1990s for two main reasons: (a) the development of intensive irrigated farming (such as maize), in particular South-western France and the Paris region, and (b) the fall of water tables after several recent severe droughts which have paradoxically affected the regions traditionally considered to be the wettest (Western and North-western France).

Figure 5. Agricultural reuse projects in operation in 1997, (Source: Faby et al, 1999).

Italy:

In Italy, a national water legislation exists (law 319 of May 10, 1976) complemented for wastewater reuse in agriculture by the “Criteria, Methodologies and General technical Standards” of February 4, 1977 (Ministero dei Lavori Pubblici, 1977). The standars aim at protecting the soil used for agriculture and the crops. It gives limits of certain minerals such as Na, Mg and Ca, by ways of ratios and tables of values. For the irrigation of crops that can be eaten raw (unrestricted irrigation), municipal wastewater effluents must go through secondary treatment  and disinfection, in order for the level of total coliforms not to exceed 2 per 100 ml. In the case of crops that do not come in contact with the water (restricted irrigation) and in all the other cases, only primary treatment is required. However, “chemicals that may leave undesirable residues” in the crops must be absent.

The law n.152 issued on 11 May 1999 by Minister of Environment has totally revised the regulations concerning wastewater treatment and disposal and the law n. 319/76 (called the “Merli law”) has been repealed. At the moment reuse of municipal wastewater for irrigation is regulated by Annex 5 of a resolution of the National Interministry Committee for the Protection of Waters from Pollution (CITAI, 1977) (but nowadays the regulatory framework is been fully changed). Wastewater reuse is considered only in the form of discharge on soil for agricultural purposes and is allowed only if wastewater addition can increase crop production. Specific restrictions are imposed on wastewater quality. The presence of total coliforms in wastewater for irrigation is accepted at very low levels depending on the use of agricultural products. No limits are set for the concentration of toxic, poisonous or bioaccumable substances, but a specific evaluation is required of the annual volume of wastewater that can be applied depending on soil and crop type. It is required that environmental impact of the reuse system is assessed. In particular, the qualitative characteristics of wastewater and water bodies as well as the physical–chemical characteristics of soil must be monitored.

The current law require also that the areas irrigated with wastewater be marked with signs warning for health hazards, that access to the irrigated area be restricted and that the irrigated area be surrounded by a buffer strip of at least 80 m with no buildings or roads, regardless of the quality of the wastewater and the irrigation methods. It is evident that Italian legislation is outdated when it is considered that, in many countries throughout the world, treated wastewater is used even for the irrigation of public areas like parks. Moreover, it is difficult to understand why buffer zones exist for irrigation with wastewater but not, for example, for discharge into surface water bodies (Barbagallo et al., 2001).

In Italy, the regions benefit from a certain autonomy in the regulatory area, and the three regions where wastewater reuse is most practiced (Puglie, Emilia Romagna and Sicilia) have enacted comprehensive standards, without necessarily following the line set by the national legislation. Puglie takes  a single value of 10 total coliforms per 100 ml; Emilia Romagna takes a value of 12 total coliforms per 100 ml for unrestricted irrigation and 250 per 100 ml for restricted irrigation; Sicilia takes a radically, and probably more realistic, stance. It forbids the irrigation of fodder crops and of food crops that come in direct contact with treated wastewater. For the other cases (restricted irrigation) the applicable standard  is 3000 total coliforms per 100 ml and 1000 faecal coliforms per 100 ml, simultaneously. It also requires the absence of salmonella and less than 1 helminth egg per litre.

Microbial criteria for irrigation with recycled municipal wastewater in Italy are given in Table 1. Moreover, the law prescribes that in the presence of unconfined aquifers in direct contact with surface waters, adequate preventive measures must be used to avoid any deterioration of their quality. A new law relative to municipal wastewater is being prepared that gives better attention to the management of water resources and in particular to the reuse of treated wastewater. Industry will be encouraged to use treated wastewater. Municipal wastewater treatment companies have already planned to build a separate supply network for wastewater reuse by industries. In the metropolitan area of Turin, for example, the two main companies (Azienda Po Sangone (APS) and CIDIU) have already done so.

Table 1. Microbiological standards for irrigation with reclaimed municipal wastewater in Italy; comparison of regional guidelines with national and WHO standards (Angelakis et al., 2003).

| Organisation or Region | TC (MPN/100 ml)a | FC (MPN/100 ml) | Faecal Streptococci (MPN/100 ml) | Nematode Eggs (no/l) |
| --- | --- | --- | --- | --- |
| WHO | Not set | 1,000b | not set | 1 |
| Italy | 2b, 20c | not set | not set | not set |
| Sicily | 3,000b | 1,000b | not set | 1 |
| Emilia Romagna | 2b, 20c | not set | not set | not set |
| Puglia | 2b, 10c | not set | not set | not set |

a mean value of 7 consecutive sampling days.

b unrestricted irrigation.

c restricted irrigation.

Spain:

Spain, a country composed of autonomous regions, also has a national legislation and a number of regional regulations in the Autonomous Provinces. The national water law (Ley de Aguas, 29/1985) merely foresees that the government will “establish the basic conditions for the direct use of wastewaters” according to the treatment processes, water quality and foreseen uses.

A Royal Decree to extend this existing law was published in 2001 (Real Decreto Legislativo 1/2001). The Decree foresees a standard of 1 nematode egg per litre for all types of irrigation and 10 faecal coliforms per 100 ml for unrestricted irrigation. For restricted irrigation the faecal coliform standards  becomes 200 per 100 ml and in the case of irrigations of cereals, industrial crops, fodder crops and pastures, it becomes 500 faecal coliforms per 100 ml. Limits on chlorine are also foreseen. Specific standards for heavy metals  must be respected for the reuse of industrial wastewaters.

Also a few regional legislations and standards do exist (in Andalusia, Baleares, Catalonia and Canarias). In the Balearic Islands, wastewater reuse is regulated by a 1992 decree with legal value. The approach taken is strictly that of the WHO. Two other pieces of Balearic legislation favour the reuse of wastewater, One prescribes the irrigation of golf courses with water other than for domestic consumption or agricultural irrigation, and the other recognized agricultural irrigation with reused water as being of public utility (Salgot and Pascual, 1996).

Catalonia has guidelines with a de facto legal value containing limit values for boron, cadmium, molybdenum and selenium, all relevant for the health of irrigated crops (Salgot et al., 1994). The microbiological standards are those of the WHO.

Andalusia also has recommendations dating from 1994, largely following the French approach with a case by case authorization. However, these guidelines specifically exclude the reuse of wastewater for potable water, street cleaning, municipal heating and cooling, and the cleaning of urban premises, as well as for the washing and transport of materials. Groundwater recharge is also restricted. Overall, the permitted types of reuse fall into seven categories. Table 2 summarizes the guidelines (Castillo et al., 1994).

Table 2. Quality guidelines for the various applications of wastewater reuse in Andalusia.

| Type of Standard | Application | Faecal Coliforms per 100 ml | Nematode Eggs per litre |
| --- | --- | --- | --- |
| 1 | Irrigation of sports fields and parks with public access | <200 | <1 |
| 2 | Vegetables to be consumed raw | <1,000 | <1 |
| 3 | Production of biomass intended for human consumption and refrigeration in open circuits | <1,000 | None |
| 4 | Recreational lakes | <2,000 | <1 |
| 5 | Refrigeration in semi-closed circuits | <10,000 | None |
| 6 | Industrial crops, cereals, dry fodder seeds, forest and conserved or cooked vegetables | None | <1 |
| 7 | Irrigation of greens areas with no public access, production of biomass not intended for human consumption and recreational lakes with access prohibited | None | None |

Source: Adapted from Castillo et al., 1994

The reuse of treated wastewater is already a reality in several Spanish regions for four main applications: golf course irrigation, agricultural irrigation, groundwater recharge (in particular to stop saltwater intrusion in coastal aquifers) and river flow augmentation.

We will review now the status of regulation and guidelines concerning wastewater recycling and reuse in other Mediterranean countries, in order to compare then with the requirements of the Water Framework Directive:

Algeria:

The Algerian laws prohibit absolutely the reuse of the raw wastewater, treated wastewater for the irrigation of raw-eaten vegetable crops; but it is allowed in the production of fodder crops, pasture and trees. The Algerian laws oblige also the cities of more than 105 inhabitants to treat their effluents, prior to any disposal or reuse, through a wastewater treatment station, and in less populated areas through wastewater stabilization ponds or sedimentation basins. Consequently, in the last few years, the Algerian authorities have initiated an ambitious program that enables mainly: (a) the rehabilitation of 28 wastewater treatment stations, (b) the construction of new wastewater treatment stations for the cities of more than 105 inhabitants, and (c) for small populated areas, the construction of wastewater stabilization ponds and sedimentation basins.

Tunisia:

Wastewater reuse in agriculture is regulated by the 1975 Water Code (law No. 75-16 of 31 March 1975), by the 1989 Decree No. 89-1047 (28 July 1989), by the Tunisian standard for the use of treated wastewater in agriculture (NT 106- 003 of 18 May 1989), by the list of crops than can be irrigated with treated wastewater (Decision of the Minister of Agriculture of 21 June 1994) and by the list of requirements for agricultural wastewater reuse projects (Decision of 28 September 1995). They prohibit the irrigation of vegetables that might be consumed raw. Therefore, most of the recycled wastewater is used to irrigate vineyards, citrus and other trees (olives, peaches, pears, apples, pomegranates, etc.), fodder crops (alfalfa, sorghum, etc), industrial crops (cotton, tobacco, sugarbeet, etc), cereals, and golf courses (Tunis, Hammamet, Sousse, and Monastir). Some hotel gardens in Jerba and Zarzis are also irrigated with recycled wastewater.

The 1989 decree stipulates that the use of recycled wastewater must be authorized by the Minister of Agriculture, in agreement with the Minister of Environment and Land Use Planning, and the Minister of Public Health. It sets out the precautions required to protect the health of farmers and consumers, and the environment. Monitoring the physical-chemical and biological quality of recycled wastewater and of the irrigated crops is planned: analyses of a set of physical-chemical parameters once a month, of trace elements once every 6 months, and of helminth eggs every two weeks on 24h composite samples, etc. In areas where sprinklers are used, buffer areas must be created. Direct grazing is prohibited on fields irrigated with wastewater.

Specifications determining the terms and general conditions of recycled wastewater reuse, such as the precautions that must be taken in order to prevent any contamination (workers, residential areas, consumers, etc.), have been published. The Ministries of Interior, Environment and Land Planning, Agriculture, Economy and Public Health are in charge of the implementation and enforcement of this decree. It is interesting to note that in Tunisia, the farmers pay for the treated wastewater they use to irrigate their fields.

Cyprus:

The provisional criteria related to the use of treated wastewater effluent for irrigation purposes in Cyprus are presented in Table 3. They are stricter than the WHO guidelines and take the specific conditions of Cyprus into account. These criteria are followed by a code of practice to ensure the best possible application of the effluent for irrigation.

Table 3. Provisional quality criteria for irrigation with recycled wastewater in Cyprus,

(Source: Angelakis et al., 1999).

| Irrigation of |  | BOD5 (mg/L) | SS (mg/L) | Faecal coliforms (MPN/100ml) | Intestinal nematodes (No/L) | Treatment required |
| --- | --- | --- | --- | --- | --- | --- |
| All cropsc | A) | 10a | 10a | 5a 15b | Nil | Secondary, tertiary, and disinfection |
| Amenity areas of unlimited public access -Vegetables eaten cooked | A) | 10a 15b | 10a 15b | 50a 100b | Nil | Secondary, tertiary, and disinfection |
| Nil Crops for human consumption – Amenity areas of limited public access | A) B) | 20a 30b - | 30a 45b - | 200a 1,000b 200a 1,000b | Nil Nil | Secondary, storage >1 week and disinfection or tertiary and disinfection. Stabilization maturation ponds total retention time >30 d or secondary and storage >30 d |
| Fodder crops | A) B) | 20a 30b - | 30a 45b - | 1,000a 5,000b 1,000a | Nil Nil | Secondary and storage >1 week or tertiary and disinfection. Stabilization maturation ponds total retention time >30 d or secondary and storage >30 d or secondary and storage >30 d |
| Industrial crops | A) B) | 50a 70b - | - - - | 3,000a 10,000b 30,00a 100,00b | - - - - | Secondary and disinfection. Stabilization maturation ponds with total retention time >30 d or secondary and storage >30 d |

a These values must not be exceeded in 80% of samples per month.

b Maximum value allowed.

c Irrigation of leaved vegetables, bulbs, and corns eaten uncooked is not allowed.

Note:

The irrigation of vegetables is not allowed.

The irrigation of ornamental plants for trade purposes is not allowed.

No substances accumulating in the edible parts of crops and proved to be toxic to humans or animals are allowed in the effluent.

Turkey:

Technical regulations and constraints for the use of wastewater effluents for agricultural purposes, with reference to Water Pollution Control Regulations are used in Turkey. In addition to the regulations there are other criteria included, regarding the classification of the waters to be used for irrigation, maximum allowable heavy metal and toxic elements concentrations as well as the mass limits for application of these pollutants in terms of unit agricultural areas.

Because of the absence of comprehensive international guidelines and of a scientific consensus, Bahri and Brissaud (2003) have proposed common guidelines on water reuse in all Mediterranean countries. These guidelines have been developed under a project funded by UNEP/WHO. These are based on the consideration that: (a) an agricultural Mediterranean market is developing with large amounts of agricultural products (vegetables, fruits, etc) imported and exported among Europe and other Mediterranean countries; (b) tourism is an essential part of the economic activity of the region; its development might be jeopardized in the long term by disease outbreaks linked to wastewater mismanagement; (c) there is a growing concern of consumers about the food quality and health hazards; (d) unfair competition among farmers should be avoided.

These guidelines have been prepared making a large use of the recent assessment of the WHO guidelines by Blumenthal et al. (2000) and of a model based QMRA data that have been obtained and compared to acceptable annual risk related to bathing and potable water drinking.

Mediterranean guidelines are minimum requirements which should constitute the basis of water reuse regulations in every country of the region. Wealthy countries might wish higher protection. Due to late development of wastewater treatment in several countries, all of them cannot be expected to comply with the guidelines within the same delay. However, every country could commit itself to reach the guidelines within a delay depending on its current equipment and financial capacities.

Only four categories of reclaimed water uses are considered, apart from groundwater recharge, in order to facilitate the implementation of the guidelines and take cost-effective water reuse into account (Table 4). A reclaimed water supply network must serve as many reuse applications as possible in the same area.

(a) Category I: urban and residential reuses, landscape and recreational impoundments.

(b) Category II: unrestricted irrigation, landscape impoundments (contact with water not allowed), and industrial reuses.

(c) Category III: restricted agricultural irrigation.

(d) Category IV: irrigation with recycled water application systems or methods (drip, subsurface, etc) providing a high degree of protection against contamination and using water more efficiently.

Water quality criteria are proposed for non potable water reuse categories I to IV. Groundwater recharge guidelines depend on whether the aquifer water is potable or not, the intended use of non potable recharged aquifer, the technique of recharge and the hydrogeological context. Wastewater treatments expected to meet the criteria were defined for each water category.

Uncertainties and approximations in the actual knowledge are far from allowing a definitive position regarding the guideline limits (Bahri and Brissaud, 2003).

Table 4. Recommended guidelines for water reuse in the Mediterranean region,

(Source: Adapted from Bahri and Brissaud, 2003).

|  | Quality criteria |
| --- | --- |
| Water category | Intestinal nematodea (No. eggs per liter) | FC or E. colib (cfu/100 ml) | SSc (mg/L) | Wastewater treatment expected to meet the criteria |
| Category I |
| a) Residential reuse: private garden watering, toilet flushing, vehicle washing. b) Urban reuse: irrigation of areas with free admittance (greenbelts, parks, golf courses, sport fields), street cleaning, fire-fighting, fountains, and other recreational places. c) Landscape and recreational impoundments: ponds, water bodies and streams for recreational purposes, where incidental contact is allowed (except for bathing purposes). | 0 - 0.1h | 0 – 200d | 0 - 10 | Secondary treatment + filtration + disinfection |
| Category II |
| a) Irrigation of vegetables (surface or sprinkler irrigated), green fodder and pasture for direct grazing, sprinkler-irrigated fruit trees b) Landscape impoundments: ponds, water bodies and ornamental streams, where public contact with water is not allowed. c) Industrial reuse (except for food industry). | 0 - 0.1h | 0 – 1000d | 0 - 20 0 - 150f | Secondary treatment or equivalentg + filtration + disinfection or Secondary treatment or equivalentg + either storage or well-designed series of maturation ponds or infiltration percolation |
| Category III |
| Irrigation of cereals and oleaginous seeds, fibre, & seed crops, dry fodder, green fodder without direct grazing, crops for canning industry, industrial crops, fruit trees (except sprinkler-irrigated), plant nurseries, ornamental nurseries, wooden areas, green areas with no access to the public. | 0 - 0.1h | None required | 0 - 350 0 - 150f | Secondary treatment or equivalentg + a few days storage or Oxidation pond systems |
| Category IV |
| a) Irrigation of vegetables (except tuber, roots, etc.) with surface and subsurface trickle systems (except micro-sprinklers) using practices (such as plastic mulching, support, etc.) guaranteeing absence of contact between reclaimed water and edible part of vegetables. b) Irrigation of crops in category III with trickle irrigation systems (such as drip, bubbler, microsprinkler and subsurface). c) Irrigation with surface trickle irrigation systems of greenbelts and green areas with no access to the public. d) Irrigation of parks, golf courses, sport fields with sub-surface irrigation systems. | None required | None required | Pretreatment as required by the irrigation technology, but not less than primary sedimentation |

(a) Ascaris and Trichuris species and hookworms; the guideline limit is also intended to protect against risks from parasitic protozoa.

(b) FC or E. coli (CFU/100 ml): faecal coliforms or Escherichia coli (cfu: colony forming unit/100 ml).

(c) SS: Suspended solids.

(d) Values must be conformed at the 80% of the samples per month, minimum number of samples 5.

(e) In the case of fruit trees, irrigation should stop two weeks before fruit is picked, and no fruit should be picked off the ground. Sprinkler irrigation should not be used.

(f) Stabilization ponds.

(g) Such as advanced primary treatment (APT).

(h) As very few investigations, if any, have been carried out on how to reach < 0.1 nematode egg /l, this criterion is considered a medium term objective and is provisionally replaced by <1 nematode egg l.

Richa and Durham (2004) have recently elaborated a review about Indirect European Incentives for Water Recycling that we present in the following section.

Europe has focused on environmental improvement and indirect incentives through fiscal policy (effluent charges and water abstraction taxes). These policies aim to discourage the discharge of effluent, reduce over abstraction of groundwater and encourage sustainable innovative alternative solutions.

The use of taxes is becoming more widespread in EU, but they have often been implemented on a case by case basis, and generally do not appear to be part of a broader strategy of encouraging alternative water resources. Furthermore, taxes have been frequently focused on revenue generation and not explicitly on providing incentives to change behaviour.

A. Groundwater abstraction taxes:

The groundwater abstraction taxes are complementary to the abstraction licenses. They are still not commonly used in EU members states. It is also noteworthy that the rates of water abstraction taxes in the countries that have implemented such a tax are quite different.

Abstraction charges, other than administrative fees, have been used for several decades in France and Spain for the financing of river basin management. Abstraction taxes with a fiscal function have been in operation at regional level in Germany, and Denmark (1993) and the Netherlands (1995). The two recent tax schemes differ considerably in scope and effective tax rate.

The Danish tax is quite high, applies to households and some service businesses only. Green taxes have slashed groundwater abstraction rates with a 40% decline during the last 10 years as reported by the EPA. Groundwater supplies more than 99% of drinking water and water consumption has reduced year on year due to the price of water that has increased 150% since 1993. Both taxes exclude agriculture. These taxes do not rely on any valuation of the environmental pressures from water abstraction, but may be seen to have significant incentive effects.

The Dutch tax is relatively low and does not exempt industry. Groundwater is the source of 70 per cent of the total water supply in the Netherlands. Tax rates are:

• The standard rate 0.15 €/m3 (applied to the water companies)

• For industry and agriculture 0.08 €/m3

• For abstraction of groundwater that has been infiltrated 0.025 €/m3

One of the goals of Dutch water policy is to contribute to the reduction of the use of groundwater relative to the use of surface water in water supply. Since groundwater is cheaper to extract than surface water, the tax serves to narrow the price differential. However, the price differential is on average 0.45 € so only in exceptional cases will the standard rate of the tax succeed in making groundwater abstraction less profitable. Exemptions:

- Irrigation < 40,000 m3/year

- Pump < 10 m3/hour

- Abstraction for skating rings

Total revenue (2002): 180 M€

B. Wastewater taxes:

Wastewater taxes are defined as compulsory payments independent of any service received. They apply to direct dischargers, i.e. those entities which discharge directly into surface water, and possibly to the residual discharge from sewage treatment plants after treatment. The waste water tax is a classical emission tax on a flow pollutant and was among the first economic instruments to be introduced in environmental policy.

A waste water tax scheme was introduced in France and in the Netherlands around 1970, while Germany followed suit with a scheme that took effect in 1981. Denmark recently introduced a waste water tax which took effect in 1997. In other Member States waste water taxes are applied at the regional level, such as in Flanders (Belgium) and in Italy and Spain.

Integrated Pollution Prevention Control (IPPC) legislation for manufacturing industry (including municipal landfill, incineration, biosolids and potentially municipal wastewater) has been implemented across Europe to ensure that the Best Available Techniques (BAT) are implemented as are result of defining total environmental impart and to provide sustainable environmental solutions. This is a daughter directive to the “umbrella” Water Framework Directive (WFD) and some countries provide tax incentives based on the adoption of IPPC BAT.

Wastewater taxes in the Denmark:

The other side of the tax incentive is increasing wastewater tax levels and the charges for pollutants such as 2.7 €/kg for nitrates, 14.7 €/kg of phosphate and 1.5 €/kg of organic material.

Wastewater taxes in the Netherlands:

Taxes have been identified as the primary driver for pollution reduction by 55% of industries affected. The tax applies to discharges of organic material, nitrogen, mercury, cadmium, copper, zinc, lead, nickel, chromium and arsenic. It now stands at:

• 29 Euro per pollution unit for state waters

• Ranging from 27-63 Euro per pollution unit for Water Boards (the state water tax is thus at the lower end of the spectrum)

The tax is imposed on all direct discharges to surface waters as well as on all indirect discharges. The tax covers the costs of sewage treatment. The tax also applies to direct dischargers, i.e. industries and municipal treatment plants which discharge directly to surface waters. Part of the taxes revenues is recycled to support municipal sewage treatment plants and in-house pollution abatement in industry.

The German wastewater tax:

The tax affects only direct dischargers, i.e. discharges from industries and municipal sewage outlets. Indirect dischargers are affected by the tax via the ordinary waste water user fee. It now stands at 36 Euro per damage unit for state waters (a damage unit represents either 50 kg of chemical oxygen demand (COD), 25 kg nitrogen, 3 kg phosphorus, 2 kg organic halogens, etc.) or 14.4 € per inhabitant equivalents (i.e). In 1998, the total revenue of wastewater taxes was about 370 M€ (60% coming from municipalities, 40% from industry). The tax is reduced when standards are adhered to, and further reduced if dischargers manage to keep their effluent at a quality level lower than the regulations standards. The revenue raised by the tax is spent by the authorities on improving municipal sewage treatment and set water quality programmes.

Table 5. EU countries groundwater abstraction/wastewater taxes and the use of their revenues.

| Country | Type of taxes | Nature | Use of revenue |
| --- | --- | --- | --- |
| Belgium | Industrial wastewater charge. | Industry pay per m3 of effluents discharged, at a rate that varies with the pollution content (Brussels, Wallonia, Flanders), Ground water abstraction fees have increased to reduce groundwater abstraction due to shortage. | Used in all three regions to finance the construction and the improvement of wastewater treatment plants. |
| Denmark |  | 40% reduction in groundwater abstraction due to price increases. |  |
| France | Pollution levy (municipality, industry). | On measured or estimated of substances discharged. River basin agency regulators have been funding up to 50% of the capital cost of environmental beneficial projects. | Revenue is redistributed to industries, regional authorities and farmers |
| Germany |  | 75% tax charge reduction for best available technique (BAT) projects. |  |
| Italy | Tax on polluted discharges into the environment (polluting firms). | On quantity of pollutants. | Partially finance to compensation of damages. |
| Netherlands | Higher tax on scarce ground water. | Groundwater tax to reduce abstraction. Tax subsidy if abstraction = recharge. |  |
| Spain | Water pollution fee on discharges into rivers (municipality, industry). | No tax on reclaimed water. |  |
| UK | Corporation tax. | UK Enhanced capital allowance tax being introduced as part of the Green Technology initiative to provide tax reductions on approved technological solutions. |  |

Source: Adapted from Richa and Durham, 2004

C. Reasons for environmental taxes and charges:

Most water prices are either subsidised or do not include the true cost of water such as the environmental, social and economic impact of the process. There are the direct costs of headworks, storage, treatment, distribution etc., but there are also the externalities such as the impacts on public health, water resource, CO2, phosphates, nitrates, soil salinisation, environmental biodiversity, flood mitigation etc.

Theoretically, the main reason behind the implementation of taxes and charges for groundwater abstraction and wastewater effluent discharge is based on the existence of environmental externalities; unintended negative (or positive) impact on a party outside the transaction. These taxes and charges must be intended to absorb the externality cost. Levying a tax or a charge on the cause of the environmental damage gives an incentive to the taxpayer to reduce their liability to the tax/charge by reducing the cause of the environmental externalities. This gives the polluter an incentive to switch to other, less polluting alternatives, so water recycling alternative could be considered.

However this is not always the situation in Europe. The measurement of externalities in the EU countries is less than straightforward. It’s true that taxes and charges are increasingly used by EU Member States as an economic instrument to implement the “polluter-pays” principle (polluters must pay for the consequences of their actions), but the approach for considering these taxes is usually not based on the cost of externalities, and the collected revenues from taxes are not always allocated in environmental improvement projects. This situation can reduce the incentives for polluters to find ways for alternative environmental friendly solutions.

Now that we have looked at the existing European incentives for implementing Water Recycling projects, it is important to give a brief overview of the existing funding arrangements all over the world, focusing on the Queensland Water Recycling Strategy (Australia). This will help in establishing the differences between the European and Australian situation.

World-wide, many governments provide financial incentives for sustainable development.

In China, a State Council requested all sewage plant to recover at least 10% of its treated effluent to overcome water shortages. Central government is supporting this strategy with 30% funding for 7 major cities. (China: 60% increase in flowrate of water recycled per annum for the last four years).

In USA, water recycling schemes receive heavy subsidies from Government for pilot projects and infrastructure expenditures. Tradable permits also exist to discourage discharge and indirectly encourage water recycling. In California the Water Factory 21 groundwater replenishment project is attracting State grants of 26% of the estimated US$352 million cost. (USA: 25% increase in flowrate of water recycled per annum for the last eleven years) In Israel the government funds 50% of the capital on reuse projects and recycles 60% of its  wastewater.

In Australia there are a number of financial incentive schemes to promote water recycling. Even though most funding schemes aimed at encouraging water recycling apply to government bodies rather than to industries, industry seems to be indirectly encouraged through avoidance of emissions charges. (Australia: 40% increase in flowrate of water recycled per annum for the last nine years).

“To prevent water pollution and to economize on water resources” has been declared as a national policy by the Chinese government (Pinjing et al., 2001). In 1986, the National EPA of China issued the Technical Policy of Water Pollution and Control (revised in 1996), that included recommendations concerning water reuse like:

• strengthening management of water resource and water use, pricing of the water resource exploitation;

• promoting the planned reuse of reclaimed municipal wastewater, especially in northern regions of China;

• considering the reuse of reclaimed municipal wastewater while the sewage system and treatment works are planed and designed;

• establishing stringent and systematic water quality standards for wastewater reuse.

Current situation on wastewater treatment and agricultural reuse in the Mediterranean region

(partially extracted from the article “Wastewater recycling and reuse in Mediterranean countries: recommended guidelines” by G. Kamizoulis et al.)

In Mediterranean countries there are many coastal and southern regions where there is a severe pressure on freshwater resources, due to low and seasonally uneven precipitation and high run-off. In some cases this is exacerbated by especially high demand from tourism and agriculture during the summer months. The main reasons are very high population density and low to medium precipitation (Marecos et al., 1996).

The most off-stream water uses in Mediterranean countries are industrial cooling, agriculture for irrigation and domestic and industrial process water. On the other hand, there major losses from water delivered to agriculture for irrigation and domestic consumption. Notice should also be taken that Mediterranean countries have high agricultural use.

Albania

Treated water reuse is not practiced in Albania. A monitoring program for the quality of urban wastewater is implemented in Albania during the three last years. The construction of urban wastewater treatment plants in Vlora will create very soon the possibility for treated wastewater reuse.

Bosnia-Herzegovina

Before the war, in Bosnia and Herzegovina there was not any reuse of wastewater. There was an idea for reusing the wastewater of the city Posusje (the treated effluent of the wastewater treatment plant of about 5,000 population equivalent) for irrigation, but nothing happened. In the same line was the combined agricultural scheme for Krajina - Banja Luka, for a project on the reuse of wastewater following their treatment of bovine feedlots, following their treatment for the irrigation of cereal fields. Now, within the new country project (the general plan for water management, established for the water management, Sarajevo, 1998, p.218), it is foreseen that Bosnia and Herzegovina irrigate 10% of the agricultural land. For the irrigation process it was planned to use the natural watercourses and the artificial lakes (of the hydro-electric systems).

Croatia

Croatia is one of the countries with abundant water resources - 5,877 m3/year per capita. Nonetheless, water management, and especially wastewater treatment is frequently ineffective. Water is, and could be, an even bigger problem during dry summers and high tourist seasons in "more arid karst" of Croatian Adriatic area that also happens to be the part of Croatia most oriented towards tourism. The biggest "drought" is on the islands whose water supply arrives from mainland through the pipes or with the water-carrier ships (except for the islands of Cres and Losinj). That is why it is important to introduce water reuse in this part of the country, moreover knowing that, at the present, wastewater is not being purified up to the needed standard, so the criteria for water reuse could be implemented with the future higher degrees of wastewater purification.

Water supply problems in Croatia manifest in the fact that the largest water consumption for both, the tourist resorts and the agricultural needs, coincide with the dry season. Until now a wastewater reuse in Croatia in any form of water supply has not been practiced so far. So far, water supply for local population and tourists in the coastal areas has been practised by transporting the water from the coast to the islands by submarine pipes and from locations reach in water (coastal rivers and spring) to the other coastal areas. But future development of these systems becomes expensive, both by investment and operation cost. Such practices do not include water supply for agricultural purposes. Consequently, in this area there is a need for new water supply sources either from desalinisation, which have already been practiced for water supply of population and tourists on the small islands near the coast or from the reuse of treated wastewater reuse mainly for agricultural purposes, which has not be practiced (Margat, 2002). Treated wastewater reuse has not been practiced due to the lack of effective sewerage systems and the absence of secondary treatment plants. Most of the towns in the coastal areas although small, are characterised with high fluctuation of population (tourists) and production of wastewater. The pretreated wastewater is discharged into the sea through long submarine outfalls. Prior to the wastewater discharge there is only preliminary treatment.

First wastewater treatment plant (WWTP) with water reuse in Croatia is case of constructed wetland in camp Glavotok – island Krk. That WWTP treats near 60 m3/day of waste water. Quality of treated water is very high. Removal efficiency for faecal bacteria is 99,99%. Still treated water is disinfected by chlorine before being reused for flushing of sanitary devices. As camp has not got public water supply system and transport of drinking water is extremely high, it helped to the camp’s owner to already return the investment to WWTP. Constructed wetlands with water recycling provide tremendous environmental benefits, including decreased wastewater discharges, pollution prevention and water conservation on that with water poor island. That pilot shows how water reuse could bring not only ecological, but economical benefits too (Shalabi, 2004).

The main possible future use of treated wastewater could be irrigation of tree crops, vineyards, olive trees, etc., as well as landscape irrigation. So far, there are no official plans or policy for wastewater reuse in Croatia.

Egypt

The Egyptian water strategy comprises the treatment and reuse of treated wastewater. Treatment of domestic wastewater is either primary or secondary. At present, wastewater is estimated at 4,930 Mm³/yr, with 22 operational wastewater treatment plants, and about 150 plants under construction. The total capacity of the installed treatment plants amounts to about 1,752 billion m³/yr (FAO, 2000).

Treated wastewater reuse in Egypt is an old practice. Sewage farming is deliberated as one of the most environmentally sound practices for disposing off sewage effluent. Since 1900, sewage water has been used to cultivate orchards in a sandy soil area at El- Gabal El-Asfar village, near Cairo. The area gradually increased to about 4,500 ha. According to the law, reuse of treated wastewater is not permitted for food and fibre crops. The Ministry of Agriculture advocates the restricted reuse of treated wastewater for cultivation of non-food crops such as timber trees and green belts in the desert to fix sand dunes.

The major problem related to the current use of treated sewage water in Egypt is not enough infrastructure (treatment plants) to treat the amounts of wastewater produced and negative impacts of the above problems on both health and environment.

Cyprus

In Cyprus the wastewater generated by the main cities, about 25 Mm3/yr, is planned to be collected and used for irrigation after tertiary treatment. Because of the high transportation cost, it is anticipated that most of the recycled water, about 55 to 60%, will be used for amenity purposes used as hotel gardens, parks, golf courses etc. A net of about 10 Mm3 is conservatively estimated to be available for agricultural irrigation. The cost of recycled water is low, about 7.5 cents/m3. This will reportedly allow irrigated agriculture to be expanded by 8-10% while conserving an equivalent amount of water for other sectors (Papadopoulos, 1995).

France

Few projects have in fact been carried out up to now in France, mainly because of problems relating to the cost of tertiary treatments. The projects implemented cover more than 3,000 ha of land, and quite a wide variety of applications: market gardening crops, orchard fruit, cereals, tree plantations and forests, grasslands, gardens and golf courses. The Clermont-Ferrand recycling scheme for irrigation of over 700 ha of maize is today considered to be one of the largest projects in Europe. The recent development of new treatment processes, such as membrane bioreactors (ultrafiltration, microfiltration), to obtain very high quality purified water, disinfected and with no suspended solids, could change the approach to the problem. and could open the door to recycling for domestic purposes (cleaning, toilet flushing, etc.). The reuse of industrial wastewater after purification to supply cooling water, wash water or even process water after sophisticated complementary treatment is widely developed in France (Kamizoulis et al., 2003).

Greece

In Greece, despite adequate precipitation, water imbalance is often experienced, due to temporal and regional variations of the precipitation, the increased water demand during the summer months and the difficulty of transporting water due to the mountainous terrain. In addition, in many south-eastern areas there is severe pressure for water demand, which is exacerbated by especially high demand of water for tourism and irrigation. Today, almost 65% of the Greek population is connected to over 350 centralised WWTP with a total capacity of over 1.45 Mm3/d (Tsagarakis et al., 2001a). An analysis of data concerning the water balance of the areas of the treatment plants demonstrated that more than 83% of the treated effluents are produced in regions with a deficient water balance (Tchobanoglous and Angelakis, 1996). Therefore, wastewater reuse in these areas would satisfy an existing water demand. Few small projects on wastewater recycling and reuse are in practice, but no guidelines or criteria for wastewater recycling and reuse have been yet adopted beyond those for discharge (No E1b/221/65 Health Arrangement Action).

Israel

In Israel about 92% of the wastewater is collected by municipal sewers. Subsequently, 72% is used for irrigation (42%) or groundwater recharge (30%). The use of recycled wastewater must be approved by local, regional and national authorities. Effluent used for irrigation must meet water quality criteria set by the Ministry of Health. The trend is towards bringing all effluents to a quality suitable for unrestricted irrigation with wider crop rotation, which will require more storage and higher levels of treatment in the future. Cost-benefit analysis indicates that recycled wastewater is a very low cost source of water in Israel. As a result, treated wastewater within the overall water supply, particularly for irrigation, has risen to 24.4% of the allocations. The water crisis in Israel and the relatively low cost of treated wastewater, rather than pure environmental considerations, are the main driving forces behind the high percentage of reuse (Angelakis et al., 2003).

Italy

A first survey of Italian treatment plants estimated the total treated effluent flow at 2,400 Mm3/yr of usable water. This gives an estimation of the potential resource available for reuse. In view of the regulatory obligation to achieve a high level of treatment in Italy, the medium to large-sized plants (>100,000 inh. served), accounting for approximately 60% of urban wastewater flow can provide re-usable effluents with a favourable cost/benefit ratio. The use of untreated wastewater has been practiced in Italy at least since the beginning of this century, especially on the outskirts of small towns and near Milan. Among the oldest cases of irrigation with wastewater is the “Marcite” where water from the Vettabia river, which receives most of the industrial and urban untreated wastewater, is used. Nowadays, treated wastewater is used mainly for agricultural irrigation covering over 4,000 ha. However, the controlled reuse of municipal wastewater in agriculture is not yet developed in most Italian regions because of a stringent normative which ignores the findings of recent research work and experiences of uncontrolled reuse so common in Southern Italy. One of the largest projects was implemented in Emilia Romagna where over 450,000 m3/yr of treated effluents are used for irrigation of more than 250 ha. The real costs for the distribution of recycled wastewater (power, labour, network maintenance) are covered by the users. New wastewater reuse systems have been recently completed in Sicily and Sardinia for agricultural irrigation (Angelakis et al., 2003).

The difficulty in satisfying water demand with conventional resources (e.g. flowing and regulated surface water, groundwater) makes the use of unconventional water resources, such as wastewater, indispensable. Municipal wastewater is potentially the most useable, because of its reliability as supply (only slightly influenced by droughts), their allocation (in inland areas they are often available close to agricultural land), their composition (toxic compounds and salt concentrations are generally tolerable in various land and crop conditions) and the diffusion of treatment plants (imposed by the regulations on effluent disposal).

Agriculture is the largest water-consuming sector in Italy. In fact, it has been evaluated that water consumption is about 50 billions m3/y, about 50% is used for irrigation purposes, 20% for industry, 20% for drinking purposes and 10% for other uses (Barbagallo et al., 2001).

The planned exploitation of ever greater amounts of municipal wastewater could help to meet irrigation water demand particularly in Southern Italy, where in inland areas farmers have been practising uncontrolled wastewater reuse for a long time. In Northern and Central Italy, available water resources generally meet in full water demand from all sectors; however, the pollution of water bodies (both surface and groundwater) has raised problems about water quality. In these regions wastewater reuse could play an important role in controlling the pollution of water bodies, particularly in the Po Basin.

Wastewater reuse could easily become a common practice in Southern Italy; however, current legislation is extremely strict and does not take into account the achievements of research activity carried out all over the world and particularly in Mediterranean areas in the field of wastewater reuse.

Lebanon

In 1991, the total volume of wastewater generated in the country was 165 million m3, of which 130 million m3 from domestic uses and 35 million m3 from industry. It was therefore evident that this huge potential for wastewater treatment and reuse has been lost. At present, only 4 m3 of waste water are treated, of which 2 m3 are used for irrigation, and the rest is disposed in the marine environment, or infiltrated by deep seepage to groundwater. Present estimates indicate that 35% to 50% of the untreated urban sewage water are infiltrated to the aquifers due to the lack of adequate discharge networks in some urban and rural areas, and pumped again for irrigation and domestic uses. Further, recent studies show that 89,6% of the industrial and domestic solid waste are untreated and put in natural places as rubbish, and 10,4% are dumped in the rivers (Kamizoulis et al., 2003).

Due to this situation, corrective measures are now carried out by the Government, aiming at implementing in different locations sewage treatments plants, with the aim to provide second-class water, suitable for irrigation and industrial use.

Libya

In Libya, At Hadba El Khadra (5 km from Tripoli on sandy soil), reuse of wastewater started in 1971. Wastewater is treated in a conventional treatment plant followed by sand filtration and chlorination (12 mg/L). The recycled wastewater is then pumped and stored in tanks with a 3-day storage capacity. Reuse was first conducted over 1,000 ha to irrigate forage crops and windbreaks. An additional area covering 1,970 ha: 1,160 ha forage, 290 ha vegetables like potatoes, onions, lettuce, etc. and 230 ha for windbreaks and sand dune stabilization) was also irrigated with recycled wastewater. 110,000 m3/d were applied using sprinkler irrigation (pivots). Reuse is also taking place in Al Marj (north-east of Bengazi: 50,000 inhabitants) after biological treatment, sand filtration, chlorination and storage (Angelakis et al., 1999).

Malta

Malta, since agriculture is the main source of income, wastewater reuse for irrigation has been contemplated as early as 1884 in order to preserve freshwater for domestic use. Since 1983, the effluent of the Sant Antnin sewage treatment plant has been used for irrigation. The current 12,800 m3/d of effluent are expected to be increased to 25,600 m3/d after expansion of the plant. The plant uses an activated sludge process followed by rapid sand filters (9 m3/m²·h). The effluent is then disinfected with gaseous chlorine (20 mg/L and contact time 30 min) and pumped into irrigation reservoirs with a free chlorine residual of 2 mg/L. Due to low water consumption per inhabitant, the raw sewage in Malta is strong (BOD5=530 mg/L and SS=445 mg/L) and has a high salinity (sodium and chloride) due to high levels of these ions in the domestic water supply. The effluent is used to irrigate 600 ha of crops by furrow and spray irrigation. The effluent quality is suitable for unrestricted irrigation and is used In to produce potatoes, tomatoes, broad and runner beans, green pepper, cabbages, cauliflower, lettuce, strawberries, clover, etc. Despite the high salinity, there are no problems with crops. This is probably associated with high permeability of the calcareous soil. Soil monitoring has shown a salt accumulation in the top soil during the irrigation season followed by leaching to the groundwater with the winter rains.

Morocco

Most Moroccan towns are equipped with sewerage networks, frequently collecting also industrial effluent. The volumes of wastewater collected were estimated at 380 Mm3/yr in 1988 and are expected to reach 700 Mm3 in 2020. For Casablanca alone, the annual production of wastewater was estimated at 250 Mm3 in 1991, with forecasts of around 350 Mm3 in 2010. However, out of the 60 largest towns only 7 have a MWTP, but both their design and operation are considered insufficient. As a consequence, most of the wastewater produced by the inland towns is used to irrigate about 7,235 ha of crops after insufficient or even no treatment. A high proportion of the remaining water is discharged to the sea (Conseil Superieur de l' Eau, 1988 and 1994).

Due to the increase of the urban population by 500,000 inh./yr a rapid increase in drinking water consumption in towns is expected. This will require the transfer of freshwater resources from one catchment area to another and the replacement of freshwater by wastewater for irrigation. The volume of wastewater available for reuse will increase with the improvement of sewerage networks. Under these conditions the share of wastewater in the overall water resource could be several percentage points higher within a few decades, especially if the wastewater of coastal towns is also recycled. Even though wastewater only represents a small share of water resources on a national scale, it can help solve local problems. This is particularly true for towns located in arid areas that are isolated from the major supply systems. This is also proven by the high rate of spontaneous wastewater reuse in inland towns (Kamizoulis, 2003).

The reused water is mainly raw wastewater sometimes mixed with fresh water. The irrigated crops are mainly fodder crops (4 harvests of corn per year around Marrakech), fruit trees, cereals and produce (growing and selling vegetables to be eaten raw is prohibited). Morocco does not have yet any specific wastewater reuse regulations. Reference is usually made to the WHO recommendations. While reducing its environmental impact on the conventional receiving waters, the lack of wastewater treatment before reuse in inland cities results in adverse health impacts. Improvement in wastewater reuse methods and in the quality of reused water for irrigation is recognized as essential. In karstic areas, the infiltration of wastewater affects groundwater resources to varying degrees. Lastly, the inadequate sanitation, collection and treatment of wastewater, mostly in small towns, are often a risk to the eutrophication of dams. The discharge of raw wastewater to the sea without proper outfalls may affect the development of tourism by degrading the sanitary quality of beaches and generating unpleasant odours and aesthetics.

Palestine

Palestine has some guidelines apply to the reuse of treated wastewater from housing, municipalities, industry and commercial enterprises in the Gaza-Strip, Palestine. They are including the requirements for: a) the collection, additional treatment and storage of treated wastewater; b) the irrigation in agriculture as well as areas of public landscape; c) the enrichment and the quality improvement of the ground water; d) the monitoring of the treated wastewater quality and the specification of sampling analysis methods; e) the monitoring to assess the long-term impact on water, soil and public health. The discharge of treated wastewater into surface water and the sea is not regulated by these guidelines. The guidelines provide vital information for collection, additional treatment and storage of treated effluent in such a manner that the use of ground water can be replaced, the aquifer can be enriched and the inflow of saline water into coastal aquifer can be reduced.

The overall objective of the guidelines is to preserve the environment by sustainable management of the water resources. The main objective is to reuse all treated wastewater to improve the water balance and the ground water quality as well as protecting soil and the public health. The treated wastewater should be used for irrigation and groundwater recharge. For every project in the area of reuse of treated wastewater the participation of all relevant stakeholders should be achieved (Zubiller, et.al, 2002).

These guidelines serve the translation into action of the “Palestinian Environment Law” by the Ministry of Environmental Affairs, dated 6th of July 1999, that became effective on 28 December 1999, particularly the Section 3 Water Environment, Article s 28 – 30.

Some of the technical principles that include these guidelines, are the following: a) all wastewater shall be collected, treated and used according to these guidelines to minimise the deficit in the water balance; b) the reuse of wastewater that is not in compliance with the standards is forbidden; c)treated wastewater has to be transported in closed pipes; d) to reach the standards for reuse the dilution of wastewater with freshwater is forbidden; e) direct injection into the aquifer is forbidden; f) the reuse of wastewater for irrigation is only allowed if it follows the regulations and standards according to the relevant type of cultivation and irrigation technique; g) the use of sprinklers is not allowed for irrigation; h) all kinds of vegetables are not allowed to be irrigated by treated wastewater; i) irrigation with treated wastewater has to be stopped two weeks before harvest; j) fruits on the ground from trees that have been irrigated with treated wastewater are forbidden to eat, to process or to sell.

Slovenia

In Slovenia it has been recently started the development of the technology of treatment of various types of wastewater by constructed wetlands. One of the priorities of the constructed wetlands technology is water recycling and reuse. Unfortunately, so far the constructed wetlands are only used for small communities and consequently for rather limited amounts of water to be recycled. It is expected, that in the very near future, that technology, including water recycling and reuse, will be used widely and mainly in touristic areas.

Syria

The total volume of industrial and municipal wastewater effluent is estimated at 400, 700 and 1600 million m3/yr for 1990, 2000, 2025 years, respectively. The discharge of these wastes in a non-treated form into watercourses and rivers led to the degradation of surface water quality to the point where it became unsuitable for direct use for drinking purposes. The most important results of this noticeable pollution of rivers and other water bodies were the disappearance of living organisms because of the lack of oxygen, the appearance of undesirable plants and weeds that clog water canals in certain regions, hateful odours resulting from decomposition of organic materials and the abundance of insects and rodents. The health conditions of the population living in the areas of intensive use of untreated wastewater also degraded. Diseases such as typhoid and hepatitis spread at a much greater rate in these regions (Angelakis, 2003). The total area irrigated with wastewater is estimated at around 40,000 ha, with 20,000 in Aleppo.

Several WWTP have been already implemented, such as Damascus (Adra), Aleppo, Homs, Salamyeh, Ras El Ein, and Haramil Awamid. The treated wastewater potentially available for reuse is estimated in 400 million m3/yr by which an agricultural area more than 40,000 ha could be irrigated. Several other WWTP are under planning or construction such as Tartus, Sweida Idleb, Al Raqqua, Al Nabik and Dar’a. Thus, the treated wastewater is expected to increase substantially in the near future. To face this alarming situation and at the same time secure treated water for use in agriculture, the Syrian government launched a programme for constructing several treatments plants two of which are already operational in Damascus and Aleppo. The Damascus plant currently treats 300 m3/d. using activated sludge method. The total area irrigated by treated and untreated water is 18,000 ha located in the outskirts of the city. With the exception of a large share of wastewater produced in Damascus and Aleppo, the

collected raw sewage from the cities, villages and other residential areas is used without any treatment, either for direct irrigation of agricultural crops or disposed to the sea or water bodies that are used for unrestricted irrigation. The use of wastewater is restricted to fodder, industrial crops and fruit trees on smaller areas, but it is uncommon that it is used for other crops as well. The situation is expected to improve when the treatment plants under construction in all large cities of the country will be operational. In towns and areas where traditional sewerage systems have been inefficient, people are reluctant to pay.

Tunisia

Irrigation with recycled wastewater is well established in Tunisia. Wastewater from la Cherguia treatment plant, in Tunis, has been used since 1965 to irrigate the 1,200 ha of La Soukra (8 km North East of Tunis) and save citrus fruit orchards as aquifers had become overdrawn and suffered from saline intrusion. The effluents from the treatment plant were used, mainly during spring and summer, either exclusively or as a complement to groundwater. Water from la Cherguia’s secondary sewage treatment plant is pumped and discharged into a 5,800 m3 pond before storage in a 3,800 m3 reservoir. The water is then delivered by gravity to farming plots through an underground pipe system. A Regional Department for Agricultural Development (CRDA) supervises the operation and maintenance of the water distribution system and controls the application of the Water Code. After this experience, a wastewater reuse policy was launched at the beginning of the eighties. The 6,366 ha involved in 1996 will be expanded to 8,700 ha in 1998 and ultimately to 20,000 ha.

Turkey

The use of reused water for irrigation in Turkey is mainly due to the scarcity of water resources and inefficient water resource management, both of which are exacerbated by growing population, economic conditions and increasing urbanization.

Although, domestic wastewater should not be used directly without proper treatment, it contains nutrients, which are essential for plant growth and can be used after treatment as a water resource in a more convenient way. Especially in arid summer times in which irrigation activities should be increased for agricultural production, it can be said that wastewater is reused for irrigation in some cases. As a result the concentration of nitrogen, phosphorus, salinity, biodegradable organic materials, trace elements may depict subsequent increases in the agricultural production areas if wastewater not treated properly. Boron is another parameter which should be given special emphasize since, high boron loaded characteristic of the water source, since accumulation of boron in such a heavy soil due to irrigation will lead to sharp decrease in agricultural productivity.

Success stories on agricultural reuse of urban wastewater in Mediterranean countries

Selected cases in Cyprus

In the following section some case studies regarding direct, official agricultural reuse of municipal wastewater have been reported. Detailed information about the selected WTP is given below.

Site visits for “CASE” 1 and “CASE 2” have been performed by ARI’s sub-contractor, Epsilon Consulting Ltd. The selected wastewater treatment plants were visited in January 2004. During the site visits, information was collected from the operators of the Treatment Plants as well as some picture of the Treatment Plant and the reuse sites. All the information about the technical, operational, economical and social situation of the Wastewater Treatment Plant (WWTP) were then gathered together and given in the following sections of this report.

CASE 1: Larnaca Wastewater Treatment Plant

Location:

Meneou Area behind the International Airport of Cyprus.

Year of the project development:

The treatment plant has been in operation since 1995. The treated effluent has been used for irrigation purposes since 2000.

Water origin:

The treatment plant of Larnaca Municipality provides domestic wastewater treatment for 46,340 PE. At the moment the WWTP serves only 36,000 PE.

Volume (or flow) of water affected:

The design capacity of the treatment plant is 8,500 m3/d. It increases in summer months to 5,500 m3/d and decreases in winter months to 4,500 m3/d. The effluent is being used for the irrigation of different crops in nearby areas.

Water treatment before reuse (technologies/process applied):

The treatment facility consists of: Bar racks, grit chamber, aeration tanks, secondary settlement tanks, sand filter and chlorination tank. The Flow Diagram of the Larnaca WTP is presented in Figure 6. On the other hand, Figures 7-10 show different parts of Larnaca WWTP.

Figure 6. Larnaca  WWTP Flow Diagram.

Figure 7. Sand Filter.

Figure 8. Irrigation Pumping Station.

Figure 9. Filter Press.

Figure 10. Sludge Drying Beds.

Reclaimed water quality:

An analysis reveals the following parameters for the effluent of Larnaca WTP:

Table 6. Larnaca effluent quality.

| Effluent Quality | Removal efficiency |
| --- | --- |
| Parameter | Value (mg/l) |  |
| BOD5 | 2.6 | 99.37 |
| COD | 56 | 93.10 |
| SS | 1.7 | 99.46 |
| pH | 7.5 | - |
| Total N | 8.5 | 90.22 |
| NH3-N | 2.4 | 96.76 |
| NO3-N | 6.9 | - |
| N | 17.8 | - |
| Conductivity | 3.4 (mS/cm) | - |
| Cl | 555 | 2.97 |
| B | 0.8 | - |
| P | 0.6 | 92.04 |
| Cd | <0.01 | - |
| Cu | 0.01 | - |
| Ni | 0.06 | - |
| Pb | 1.87 | - |
| Zn | 0.35 | - |
| Cr III | <0.01 | - |
| Total E.Coli/100ml | 5 | - |
| Intestinal E.Coli/100ml | 0 | - |
| Residual Cl | 0.2 | - |

Water reuse applications:

Since the plant has been in operation, the effluent is being used for irrigation of agricultural land at Dromolaxia Village where corn and alfalfa are cultivated. The treated water is also used by the hotels, International Airport and Larnaca Municipality for the irrigation of gardens, parks and fields during the summer season.  For that purpose, the effluent is being discharged through pumping stations.

Total area affected by irrigation:

An average agricultural area of 150 hectares is being regularly irrigated. In addition the recycled water is being used by the hotels connected to the Sewerage Network and also by the Municipality for the irrigation of  gardens, parks and fields.

Types of products cultivated in irrigated areas:

A variety of animal plants i.e. corn, alfalfa, as well as garden parks and fields are regularly irrigated with the treated wastewater.

Costs: total cost of the project; final cost of water reuse per cubic meter:

The total cost of the project is 30 million CYP (50 million €), out of this, 5.5 million CYP (9.3 million €) is the cost of the tertiary treatment plant with the reuse network and pumping station. The cost for the production of tertiary treated water is around 0,3 CYP (0.5 €)  per cubic meter.

Problems founded in the start-up, development or final application of the project:

According to the information gathered from the plant staff, the major operational problem of the plant is the oils inserted in the system from the restaurants. Another problem is that the actual BOD concentration, is much higher than the envisaged in the plant’s design (5,000 mg/l instead of 300 mg/l).

The extension of the current plant and the network is being planned in the nearest future due to the fact that the treatment plant capacity is not sufficient enough under current National and EU legislations.

Table 7. Larnaca WWTP Evolution.

| Year | Population Equivalent (PE) | % | Capacity of the Treatment Plant (m3/day) |
| --- | --- | --- | --- |
| 2003 | 36,000 | 50% | 8,500 |
| 2006 | 40,000 | 60% | 10,000 |
| 2012 | 67,000 | 100% | 17,000 |

Remarkable results:

For almost three years, the treated effluent is being used for irrigation purposes. It has recently been reported that animals crops are growing noticeably fast since the effluent application.

Information Sources:

All information was provided from the treatment plant representatives.

CASE 2: Ayia Napa - Paralimni WTP

Location:

Cavo Greco area (between Ayia Napa and Paralimni)

Year of the project development:

The plant has been constructed in 2000 and has been operated since August 2002.

Water origin:

The treatment plant provides municipal wastewater treatment within the boundaries of the municipalities of Ayia Napa and Paralmni for 75,000 PE.

Volume (or flow) of water affected:

The design capacity of the treatment plant is 12,000 m3/d. The plant operates close to its full capacity at 9,600 m3/d in the summer and decreases in winter months to 4,000 m3/d. Since the start-up of its operation, 100% of treated wastewater is being used as irrigation water in summer.

Water treatment before reuse (technologies/process applied):

The system consists of Primary Treatment (coarse and fine screen), Secondary Treatment (activated sludge) follows finally by the Tertiary Treatment (Sand Filter and Chlorination). There is also a sludge treatment unit, that consists of sludge thickening tank and belt filter press.

The mechanical pretreatment and the secondary treatment takes place in a common system for the two municipalities, while there are two storage tanks and two tertiary treatment plants one for each municipality.

Some photos and the Flow Diagram of the Paralimni and Ayia Napa WWTP are presented in Figures 11 to 15.

Figure 11. Paralimni and Ayia Napa WWTP Flow Diagram.

Figure 12. Pretreatment. 							Figure 13. Settlement Tank.

| Figure 14. Aeration Tank. | Figure 15. Storage Tank (Secondary treated water). |
| --- | --- |

Reclaimed water quality:

Table 8 and 9 show the result of the analysis of the effluents to Paralimni and Ayia Napa treatment plants.

Table 8. Paralimni effluent quality.

| Effluent Quality (Summer) | Removal efficiency | Effluent Quality (Winter) | Removal efficiency |
| --- | --- | --- | --- |
| Parameter | Value (mg/l) |  | Parameter | Value (mg/l) |  |
| COD | 52.5 | 92.50 | COD | 48.9 | 86.23 |
| BOD | 1.48 | 99.62 | BOD | 1.14 | 99.43 |
| SS | 2.65 | 98.93 | SS | 1.95 | 98.89 |
| Total N | 15.1 | 75.45 | Total N | 23.8 | 40.50 |
| NH4+ | 0.95 | 97.29 | NH4+ | 0.31 | 99.03 |
| NO2- | 52.3 | - | NO2- | 84.1 | - |
| NO3- | 52.3 | - | NO3- | 84.1 | - |
| Total P | 6.65 | 34.16 | Total P | 6.12 | 29.66 |
| PH | 6.8 | - | pH | 6.7 | - |
| T | 28.9 | - | T | 16 | - |
| Alkalinity | 1.67 | 72.17 | Alkalinity | 1.7 | 73.85 |
| Conductivity | 1.8 | 10.00 | Conductivity | 2.2 | 15.38 |
| Free Cl | 0.81 | - | Free Cl | 2.94 | - |
| Total Cl | 1.72 | - | Total Cl | 3.94 | - |
| Total E.Coli | 0 | - | Total E.Coli | 0 | - |
| Intestinal E.Coli | 7 | - | Intestinal E.Coli | 5 | - |
| Intestine Worms | 0 | - | Intestine Worms | 0 | - |

Table 9. Ayia Napa effluent quality.

| Effluent Quality (Summer) | Removal efficiency | Effluent Quality (Winter) | Removal efficiency |
| --- | --- | --- | --- |
| Parameter | Value (mg/l) |  | Parameter | Value (mg/l) |  |
| COD | 55 | 92.14 | COD | 50.6 | 85.75 |
| BOD | 1.6 | 99.59 | BOD | 1.4 | 99.30 |
| SS | 3.1 | 98.74 | SS | 2.18 | 98.75 |
| Total N | 15.1 | 75.45 | Total N | 23.8 | 40.50 |
| NH4+ | 0.84 | 97.60 | NH4+ | 0.40 | 98.75 |
| NO2- | 0.09 | - | NO2- | 0.02 | - |
| NO3- | 58 | - | NO3- | 97.1 | - |
| Total P | 6.81 | 32.57 | Total P | 7.57 | 12.99 |
| PH | 6.71 | - | PH | 6.62 | - |
| T | 29 | - | T | 16 | - |
| Alkalinity | 1.65 | 72.50 | Alkalinity | 1.74 | 73.23 |
| Conductivity | 1.81 | 9.50 | Conductivity | 2.23 | 14.23 |
| Free Cl | 1.11 | - | Free Cl | 3.9 | - |
| Total Cl | 2.13 | - | Total Cl | 5.12 | - |
| Total E.Coli | 0 | - | Total E.Coli | 0 | - |
| Intestinal E.Coli | 7 | - | Intestinal E.Coli | 5 | - |
| Intestine Worms | 0 | - | Intestine Worms | 0 | - |

Water reuse applications:

Since the plant has been in operation, the effluent is being used for irrigation of agricultural land in Paralimni where potatoes are mostly cultivated. The treated water is also used by the hotels and the Municipalities for the irrigation of gardens and parks during the summer season.  For that purpose, effluent discharge is being pumped to the location where it is used for irrigation.

Total area affected by irrigation:

An average agricultural area of 100 hectares is being regularly irrigated. In addition, the recycled water is being used by the hotels connected to the Sewerage Network and also by the Municipalities for the irrigation of gardens, parks and fields.

Types of products cultivated in irrigated areas:

Effluent is used for the irrigation of potatoes, parks, gardens and fields.

Costs: total cost of the project; final cost of water reuse per cubic meter:

The total cost of the plant is 8,5 million CYP (14.4 million €), out of this 3,5 million CYP (5.9 million €), is the cost of the tertiary treatment plant with the reuse network and pumping station. The cost for the production of tertiary treated water is around 0,3 CYP (0.5 €)  per cubic meter (20 cents for secondary treatment and 10 cents for tertiary treatment). The Sewerage Board of Paralimni and Ayia Napa sell this water at the price of 15 cents CYP/m3 for the hotels and 6 centsCYP/m3 for agriculture (0.25 and 0.10 €/m3 respectively).

Problems founded in the start-up, development or final application of the project:

According to the information gathered from the plant staff, the major operational problem of the plant is the high temperature of the water in the summer (30-35oC instead of 20-25oC). Another problem is that the actual BOD concentration is much higher than the envisaged in the plant’s design (5,000 mg/l instead of 300 mg/l).

The extension of the current plant and the network is being planned in the near future due to the fact that the treatment plant capacity is not sufficient enough under current National and EU legislations (Table 10).

Table 10.  Ayipa Napa-Paralimni Plant Evolution.

| Year | Population Equivalent (PE) | % | Capacity of the Treatment Plant (m3/day) |
| --- | --- | --- | --- |
| 2003 | 50,000 (A) 25,000 (B) | 70% (A) 65% (B) | 12,000 |
| 2006 | 70,000 (A) 27,000 (B) | 100 (A) 80% (B) | 15,500 |
| 2012 | 70,000 (A) 31,000 (B) | 100% (A) 100% (B) | 20,000 |

Remarkable results:

The effluent has been used for irrigation purposes since its first operation time.  The demand of the treated water is, until the currently moment) less than the production.

Information Sources:

All information was provided from the treatment plant representatives.

CASE 3: Vathia Gonia WWTP

Location:

Vathia Gonia, Nicosia, Cyprus. The Cyprus economy is heavily dependent on tourism. Tourist zones cover 105 km, i.e. 37% of the coastline, Predictions estimate that tourist arrivals will exceed 3 millions for the year of 2004; the peak flow of tourists usually comes in the period from January to June. This indicates that Vathia Gonia (Nicosia) is considered as an area with seasonal tourists' pollutant discharge loads.

Year of the project development:

The construction of the plant commenced in February 1996 and was completed in February 1998. The operation of the plant started gradually with domestic and industrial wastewaters.

Water origin:

Domestic and industrial (dairy, metal, etc) wastewaters originating from the Districts of Larnaca and Nicosia.

Volume (or flow) of water affected:

The capacity of the treatment plant is 2,200 m3/d  (0.8 Mm3/yr).  The effluent is stored in a 284,000 m3 storage and balancing reservoir prior to distribution.

Water treatment before reuse (technologies/process applied):

Due to the variable composition of the incoming wastewater, various pre-treatment processes are employed for more effective results. Pre-treatment stage consists of: screening, grit removal, dissolved air flotation, chemical precipitation of metals, storage for gradual feed into the system, storage and transfer to the aerobic digesters via macerating pumps.

Secondary stage consists of: two parallel balancing tanks, anoxic tank, two parallel aeration tanks and two secondary settlement tanks. It is followed by tertiary treatment, where effluent from the final settling tanks is pumped into four continuously back-washed tertiary sand filters. Effluent is chlorinated in a contact tank prior to discharge to the storage reservoir of 284,000 m3 capacity. The Figure 16 shows the flow diagram of the plant.

Figure 16. Vathia Gonia Wastewater treatment plant system,

(Source: Ministry of Agriculture, Natural Resources and Environment, Cyprus 2000).

Reclaimed water quality:

Table 11. Reclaimed water quality of Vathia Gonia City.

| Tertiary Effluent | Secondary Effluent | Aeration Tanks | Anoxic Tank | Balance tank Outlet | Domestic Sampler | Units | Parameter |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 7.6 | 7.8 | 7.7 | 7.6 | 7.0 | 7.6 |  | pH |
| 2,222 | 2,173 | 2,217 | 2,397 | 2,613 | 2,421 | microS/cm | EC |
| 10 | 8 | - | - | 896 | 960 | mg/L | BOD5 |
| 72 | 80 | - | - | 2,631 | 3,006 | mg/L | COD |
| 9 | 31 | 2,910 | 2,964 | 1,658 | 1,532 | mg/L | SS |
| 2 | 0 | 9 | - | 103 | 147 | mg/L | NH3 |
| 3 | 12 | 3 | - | 9 | 10 | mg/L | NO3 |
| 193 | - | 186 | - | 99 | - | mg/L | SO4 |
| 32 | 47 | 33 | - | 57 | 122 | mg/L | PO4 |
| 517 | 582 | 731 | - | 675 | 95 | mg/L | Cl |
|  | - | 46 | 59 | 50 | 20 | %SS | O & V |
| - | - | 4,811 | 5,884 | 4,931 | - | mg/L | Total Solids |

Water reuse applications:

Treated water is used for irrigation.

Total area affected by irrigation:

The irrigation network covers approximately 50 ha of land near Potamia and Geri villages.

Types of products cultivated in irrigated areas:

Fodder crops.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Design and Construction: 14.2 million €. Five years operation and maintenance: 2.4 million €.

Problems founded in the start-up, development or final application of the project:

Problems were mainly due to variable composition of the incoming wastewater. Particular attention was given to odor control such that air from the tanks is vented through biological filters for removal of odorous compounds.

Remarkable results:

The latest technology has been applied at the plant. Since the commencement of its operation, both its targets, namely the protection of environment and saving of water resources, have been fulfilled. Odour control is one of the main features of the plant due to the peculiarity of the wastes that are treated, which being septic, can cause serious odour nuisance. Particular attention was given to cover all tanks that may emanate odours and to ensure that all air from the tanks is vented through biological filters for the removal of odorous compounds.

Information sources:

Marie-Pons, 1999. Available from: http://www.ensic.inplnancy.fr/COSTWWTP/Work_Group/Wg5/Hamburg2000/Hajipakkos.pdf, [Accessed Nov. 26 2003].

Ministry of agriculture, natural resources and environment water development department, 2002. The central wastewater treatment at Vathia Gonia, Republic of Cyprus.  Available from: http://www.pio.gov.cy/wdd/eng/publications/vgonia_eng.pdf, [Accessed Dec. 20, 2003].

The central wastewater treatment plant in Vathia Gonia, Cyprus. http://www.hydro.ntua.gr/labs/sanitary/agricultural_reuse.htm.

http://www.caramondani.com.cy/completed.htm

CASE 4: Limassol WWTP

Location:

Limassol.

Year of the project development:

1995.

Water origin:

Domestic and industrial wastewater.

Volume (or flow) of water affected:

The mean flow rate at the ultimate stage will be 48,205 m3/d.  Currently, the average sewage flow is about 10,000 m3/d (3.65 Mm3/yr).

Water treatment before reuse (technologies/process applied):

Secondary and tertiary treatments are employed.  Secondary treatment includes grit, oil, grease and large solids removal in its primary processes, followed by conventional activated sludge treatment.  The sludge is anaerobically digested and dewatered on belt presses.

Reclaimed water quality:

For secondary effluent:

BOD5: 20 mg/l

TSS: 20 mg/l

The quality of the tertiary effluent, is of very high standards and well within the requirements of the European Union requirements as specified by the applicable guidelines, regulations and standards.

Water reuse applications:

Reclaimed wastewater is used for many purposes including groundwater recharge, restricted irrigation such as public amenity areas, golf courses, etc., but excluding vegetable irrigation. The tertiary treated effluent is delivered to the Water Development Department of the Ministry of Agriculture, which has the responsibility of the distribution and sale to various users.

Total area affected by irrigation:

Not data available.

Types of products cultivated in irrigated areas:

Not data available.

Costs: total cost of the project; final cost of water reuse per cubic meter:

The Sewerage and Drainage System of Limassol Amathus (SBLA), the largest in Cyprus, is being developed in phases. The population which is currently being served is about 70,000 people and at the ultimate stage 200,000 people will be served.  Phase A of the project that started in 1995, consists of a sewage network of about 180 km, six large pumping stations, a tunnel of about 800m long, a sea outfall for emergency situations, a secondary treatment plant, a tertiary treatment plant.  The total cost of Phase A of the project, including the tertiary treatment plant, is about 90 million US$. Phase B of the project is currently under construction in phases. On completion of the whole project, the ultimate cost for the sewerage treatment and water reuse scheme is projected to exceed 180 million US$.

Problems founded in the start-up, development or final application of the project:

Not problems reported.

Remarkable results:

The cost of production of the tertiary effluent is much lower than the desalinated water. It is estimated that the marginal cost of the tertiary treatment effluent is currently about 0.09 US$/ml (not including the secondary treatment costs that should be employed in any case). Water resources are used more efficiently and cost effectively with the help of wastewater reuse scheme. Freshwater can be saved for domestic use.

Information sources:

Papaiacovou I., 2001. Case study- wastewater reuse in Limassol as an alternative water source. Desalination 138, 55-59.

Selected cases in France

CASE 1: Mont Saint Michel Proyect

Location:

Mont Saint Michel.

Year of the project development:

1994.

Water origin:

Domestic wastewater.

Volume (or flow) of water affected:

Not data available.

Water treatment before reuse (technologies/process applied):

Activated sludge, 3 stabilization lagoons.

Reclaimed water quality:

An analysis reveals the following parameters for the effluents:

Faecal Coliforms: 20/100 ml

Helminth Eggs: 0/100 ml

Water reuse applications:

Irrigation.

Total area affected by irrigation:

An average agricultural area of 265 hectares.

Types of products cultivated in irrigated areas:

Meadows and maize.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Not data available.

Problems founded in the start-up, development or final application of the project:

Not data reported.

Remarkable results:

Not data reported.

Information Sources:

Faby J.A., Brissaud F. and Bontoux J., 1999, Wastewater Reuse in France: Water quality standards and wastewater treatment technologies, Water Sci. Technol., Vol. 40, No 4-5, pp 37-42.

Brissaud F., 2002, Wastewater Reclamation and Reuse in France, e-books in Hydrored web-site as personnel communication,

http://tierra.rediris.es/hidrored/ebooks/ripda/bvirtual/articulo06.PDF

CASE 2: Clermont Ferrand Proyect

Location:

Clermont Ferrand.

Year of the project development:

1996.

Water origin:

Domestic wastewater.

Volume (or flow) of water affected:

25,000 m3/day (9 Mm3/yr).

Water treatment before reuse (technologies/process applied):

Activated sludge, lagoon.

Reclaimed water quality:

An analysis reveals the following parameters for the effluents:

Faecal Coliforms: 90/100 ml

Enterococci: 24/100 ml

Water reuse applications:

Irrigation.

Total area affected by irrigation:

An average agricultural area of 600 hectares.

Types of products cultivated in irrigated areas:

Maize.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Not data available.

Problems founded in the start-up, development or final application of the project:

Not data reported.

Remarkable results:

Not data reported.

Information Sources:

Faby J.A., Brissaud F. and Bontoux J., 1999, Wastewater Reuse in France: Water quality standards and wastewater treatment technologies, Water Sci. Technol., Vol. 40, No 4-5, pp 37-42.

Bontoux J., Courtois G., 1996, Wastewater Reuse for Irrigation in France, Water Sci. Technol., Vol. 33, No 10-11 pp 45-49.

Brissaud F., 2002, Wastewater Reclamation and Reuse in France, e-books in Hydrored web-site as personnel communication.

http://tierra.rediris.es/hidrored/ebooks/ripda/bvirtual/articulo06.PDF

CASE 3: Wastewater reuse in a French island

Location:

French island of Noirmoutier (Atlantic coast).

Year of the project development:

Since 1996.

Water origin:

Treated domestic wastewater proceeding from two wastewater treatment plants (WWTP), La Salaisière (in the North) and La Casie (in the South), treat municipal sewage collected from the four communities of the island.

Volume (or flow) of water affected:

Average sewage flow rates in La Salaisière and Casie WWTP´s are 8,000 m3/d and 1,500 m3/d, respectively. At present, from 150,000 to 300,000 m3/year of wastewater stored at La Salaisière WWTP are utilised to irrigate 2.70 km2 potato fields, while at La Casie about 30,000 to 50,000 m3/year are used to irrigate an area of 0.35 km2 potato fields.

Water treatment before reuse (technologies/process applied):

La Salaisière secondary effluents are stored in a series of 4 reservoirs, with an overall storage capacity of 220,000 m3, making water available for irrigation and improving the microbiological quality of the stored water. Stored water that cannot be used for irrigation is disposed of to the sea. Between May and July, most of the stored water is used for irrigation and no water is discharged into the sea. Primary effluents of La Casie WWTP are stored in 90,000 m3 stabilisation ponds.

Reclaimed water quality:

Helminth Eggs: < 1 / 1,000 ml

Faecal Coliform: < 1,000 / 100 ml

Water reuse applications:

Agricultural and landscape irrigation.

Total area affected by irrigation:

2.70 km2 in Salaisière and 0.35 km2 in La Casie.

Types of products cultivated in irrigated areas:

Potatoes.

Costs: total cost of the project; final cost of water reuse per cubic meter:

The four communities of the island have constituted an association which is in charge of water supply and wastewater collection, treatment, reuse and disposal. This association purchases the treated water and sells it to the consumers. It also sells treated wastewater to the farmers. Prices listed in Table 12 vary with the quantity, quality and usage of water.

Table 12. Average water prices in Noirmoutier (including the cost of subscription and meters).

| Potable water (€/m3) | Reclaimed water (€/m3) |
| --- | --- |
| Purchased | Sold | Sold |
|  | Domestic, hotel,… | Landscape | Agriculture | Agricultural irrigation |
| 0.60 | 4.57* | 0.67 | 1.54 | 0.23-0.30 |

Note: *including the price for sewage treatment and disposal: 2.21 €/m3

Problems founded in the start-up, development or final application of the project:

Not data reported.

Remarkable results:

The study shows that, in Noirmoutier, wastewater reclamation and reuse for crop irrigation is the most cost-effective solution to the lack of water resources and the protection of sensitive environment. Treated wastewater is the resource most easily accepted by the farmers for its low price.

Information Sources:

Xu, P., Valette, F., Brissaud, F., Fazio, A., Lazarova, V. Technical –economic modeling of integrated water management: wastewater reuse in a French island. Wat. Sci. & Technol. 43 (10), pp. 67-74, (2001).

Selected cases in Greece

CASE 1: Wastewater reuse in Chalkis, Greece

Location:

City of Chalkis.

Year of the project development:

The whole project of reclamation of wastewater started at 1998 and constructed the first UV.

Water origin:

Mainly domestic wastewater.

Volume (or flow) of water affected:

A total daily flow of 9,000 m3/day.

Water treatment before reuse (technologies/process applied):

Wastewater treatment (Figures 17 and 18) consists of the following stages: pre-treatment of the municipal wastewater, pre-treatment of septage sewerage, primary clarifiers, aeration tanks, final clarifiers, advanced treatment, thickeners, digesters and dewatering unit for sludge treatment. The Advanced Treatment of the WWTP of Chalkis consists of, coagulation-filtration, ultraviolet disinfection using two types of UV systems (closed and open type) and chlorination. In 1998 the first UV bank was constructed, which produce 55 mWs/cm2 dose. After test, it was decided to increase the total dose of the UV lamps at 120 mWs/cm2.

Figure 17. Advanced Wastewater Treatment for Reuse at the WWTP of Chalkis.

Figure 18. Flow diagram of the WWTP of Chalkis.

Reclaimed water quality:

Table 13. Effluent quality of the WWTP of Chalkis

| Parameters | Units | Average value |
| --- | --- | --- |
| Temperature | ºC | 21.2 |
| pH |  | 7.14 |
| Redox | mV | 60 |
| Suspended Solids (SS) | mg/l | 12 |
| COD | mg/l | 54 |
| BOD | mg/l | 9 |
| Ammonia N-NH4+ | mg/l | 6.6 |
| Nitrate N-NO3- | mg/l | 5.5 |
| Nitrite N-NO2- | mg/l | 0.3 |
| Total Phosphorous | mg/l | 4.0 |
| UV Transmisión | %T | 55.3 |

Figure 19. F. Coli distribution per stage.

Water reuse applications:

Chalkis WWTP provides tertiary treated water primary for landscape irrigation and secondary (not in today use) for industrial use.

From a total daily flow of 9,000 m3/day the 4,000 m3/day can be used for landscape irrigation and industrial uses.

Total area affected by irrigation and Types of products cultivated in irrigated areas:

Until today 2,500 trees have been planted at Passas island (3 ha) where the facilities of the WWTP are. There have also been planted 55 ha with 12,175 trees and bushes nearby the city of Chalkis, while the expectations are 280 ha with 100,000 trees and bushes (Figure 20).

Figure 20. Irrigation area in Chalkis.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Not data available.

Problems founded in the start-up, development or final application of the project:

Not special problems reported.

Remarkable results:

The following good results have been reported:

- Achievement of Quality Criteria.

- Functional Flexibility of Advanced Treatment stages.

- Correlation between ratios of energy consumption and advanced treated wastewater volume.

- Adequate process performance of filters in the range of 50 to 200 m3/hr and >70 mg/l Calum.

Information Sources:

Kanaris, S., Koutsavlis, An., Mamais, D., Margaritis, N. Advanced wastewater treatment for reuse at the WWTP of Chalkis. International workshop Implementation and operation of municipal wastewater reuse plants. Thessaloniki, Greece, March-2004.

Selected cases in Israel

Israel is a semi-arid country with insufficient natural water resources. All the available water (290 m3/capita/yr) is consumed causing severe water stress in drought years. Israel’s water policy is based on the development of alternative water resources including brackish and seawater desalination, wastewater reuse, brackish water irrigation, stormwater storage and cloud seeding. The future aim is to increase effluent reuse by the year 2010 to minimum 500 MMCY from the 290 MMCY currently reused. Today, 95% of the 450 MCMY domestic sewage, is centrally collected in WWTPs. 60% of the treated effluents contain maximum 20 mg/l BOD and 30 mg/l TSS and are suitable by further filtration and disinfection for unrestricted irrigation. New (1999 Halperin – Committee guidelines and 2002 Inbar Committee standard proposal) regulations for unrestricted irrigation require, besides application of tertiary or more advanced treatments, also good O & M practice (Chikurel and Aharoni, 2004).

Within the considered cases, applications in Israel are the most notable ones in terms of capacity, effluent quality, application diversity, and suitability to Mediterranean region, and costs. Dan Region project in Israel seems to be the largest and most remarkable one with 120 million m3/yr capacity, post-treatment water handling and reuse applications (e.g. groundwater recharge, reservoir storage, soil aquifer treatment, direct irrigation, etc). It also fulfils the above mentioned aims by further improving the effluent quality through the Soil Aquifer Treatment System to an almost drinking water quality and reclaiming and transporting the water for unrestricted irrigation to the South of the country. The second big project (Hakishon project) treats the wastewater from the Haifa and Afula area (20/30) and based on 60 days retention in a reservoir, screen filtration and chlorination, supplies almost 30 MMCY (570,000 PE) of unrestricted irrigation water quality effluents to the North of the country. Besides the reclaimed water supplied by these two big projects, another 7 WWTP effluents are filtered (deep bed) and chlorinated and supplied as unrestricted irrigation water (17 MMCY or 230,000 PE).

In addition, specific treatment schemes are adopted depending on the end-use goals in Israel.  Reclaimed effluents, after tertiary treatment followed by soil aquifer treatment, are used for the irrigation of all crops without any restriction. Tertiary effluents (activated sludge and seasonal detention, or activated sludge with sand filtration) are used on a restricted basis for the irrigation of canned fruits, vegetables for cooking and for fruits with non-edible peels. Secondary effluents (activated sludge, trickling filters and oxidation ponds with seasonal detention), stored in surface reservoirs, are used, with restrictions, for the irrigation of industrial field crops (mainly cotton), fodder crops, forests and pastures (http://www.mni.gov.il/english/units/Water/PermittedIrrigatedCrops.shtml).

CASE 1: Dan Region Proyect

Location:

Dan Region, Tel Aviv, Southern Israel.

Year of the project development:

1991-1994.

Water origin:

Wastewater of Tel Aviv Metropolitan Region, treated in Dan Region WWTP (Figure 21).

Figure 21. The Dan Region Wastewater Treatment Plant (a) and soil aquifer treatment (SAT basins) (b).

(Source: Chikurel and Aharoni, 2004).

Volume (or flow) of water affected:

120 Mm3/yr.

Water treatment before reuse (technologies/process applied):

Effluents of biological treatment including nutrient removal are recharged into the groundwater aquifer by means of spreading sand basins for additional polishing and long-term storage. High quality reclaimed water is eventually pumped out and used for unrestricted irrigation.  Treatment scheme is given in Figure 22.

Figure 22. The Dan Region (Greater Tel-Aviv area) Wastewater Treatment and Reclamation Scheme,

(Source: Shelef, 2004).

Reclaimed water quality:

An analysis reveals the following parameters for the effluents:

FC	: 1/100 ml

TC	: 1/100 ml

BOD 	: < 0.5 mg/l

COD	: 7 mg/L

TSS 	: 1 mg/l

TN	: 0.4 mg/l

TP	: 0.08 mg/l

Water reuse applications:

In 1993, 87 Mm3 of wastewater was treated, of which 75 Mm3 was recharged and about 100 Mm3 (together with groundwater) was supplied for agricultural irrigation in Negev.

Total area affected by irrigation:

An average agricultural area of 16,000 hectares.

Types of products cultivated in irrigated areas:

Field-crops (cotton, cereals, sunflower, etc.), fruit plantations and vegetables, flowers aimed for export.

Costs: total cost of the project; final cost of water reuse per cubic meter:

0,45 US$/m3.

Problems founded in the start-up, development or final application of the project:

Some of the physico-chemical processes, such as sorption and ion-exchange may become over-saturated with time, resulting in the breakthrough of certain substances.  The open operational reservoirs require monitoring for algae growth and decline in water quality due to natural fowl (birds) as well as wind and dust-borne microorganisms.  The possibility of physically covering the reservoirs with floating covers or geodesic domes is currently being studied.

Remarkable results:

Comparable (lower) reclamation costs are achieved with advanced treatment followed by reuse for irrigation, compared to advanced treatment followed by sea disposal. Scarce freshwater resources are preserved for uses other than agricultural irrigation.  In addition, it is possible to upgrade the treatment plant effluent to a level suitable for unrestricted irrigation and even drinking water quality by soil aquifer treatment system. intensive biological activity takes place in various zones and levels of the soil and aquifer. Nitrification of ammonia and organic nitrogen thus continues in the unsaturated aerated zones, while denitrification proceeds in the anoxic zones, where organic matter is retained.

Information Sources:

Chikurel, H., Aharoni, A. Treatment and distribution of effluents for unrestricted irrigation: The Israeli experience related to O&M aspects. Workshop on Implementation and Operation of Municipal Wastewater reuse plants. Thessaloniki, Greece (2004).

Israel Ministry of Foreign Affairs web site, http://www.mfa.gov.il/mfa/go.asp?MFAH0as90- Cikurel, H., Aharoni, A., Tal, N., 2001. Water reuse in Israel, http: //www.med-reunet.com/docsseminar/haim_cikurel.pdf.

Shelef, G., Wastewater treatment, reclamation and reuse in Israel,

http://www.biu.ac.il/SOC/besa/waterarticle3.html, updated on 01/11/2004.

Shelef, G., Yossi, A. The coming of era of intensive wastewater reuse in the Mediterranean Region, Water Sci. Technol., Vol. 33 (10-11), pp 115-125 (1996).

CASE 2: Greater Haifa WWTP

Location:

Haifa, Israel (Kishon Scheme).

Year of the project development:

1983.

Water origin:

Greater Haifa Municipal Wastewater.

Volume (or flow) of water affected:

35 Mm3/yr of wastewater flows to the treatment plant. The treated effluent, with an annual flow of 22 Mm3/yr, is pumped to a reclaimed water convergence conduit. It is then seasonally stored in dual seasonal storage reservoirs, operating in series.

Water treatment before reuse (technologies/process applied):

The Haifa Joint Association of Towns Treatment Plant is composed of primary settling, integrated technology of activated sludge and trickling filter, secondary clarifiers and anaerobic sludge digestion, followed by sludge thickening and dewatering.

Figure 23. The Kishon Complex (Tishlovet Hakishon) wastewater reuse scheme of the Greater Haifa Region, (Source: Shelef, 2004).

Wastewater is conveyed to a 12 Mm3 storage reservoir (12 m of operating depth). Two disinfection points add gaseous chlorine, one at the initial pumping stations near the treatment plant and the second at the outlet of the seasonal reservoirs. Treatment scheme is given in Figure 23.

Reclaimed water quality:

FC: 910 /100 ml  before filtration and chlorination (1 /100 ml at the end-user following filtration and chlorination).

TC: 3047 /100 ml  before filtration and chlorination.

2 /100 ml at the end-user following filtration and chlorination).

BOD: 8.2 mg/l

TSS : 20.7 mg/l

NO3: 14.7 mg/l

NO2: 7.1 mg/l

NH3: 15.2 mg/l

PO4: 15.0 mg/l

Water reuse applications:

Restricted irrigation. The reservoir is filled throughout the year with effluent at a relatively constant flow, while water is withdrawn only during the dry months.

Total area affected by irrigation:

Data not available.

Types of products cultivated in irrigated areas:

Cotton, silage and other non-edible crops.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Data not available.

Problems founded in the start-up, development or final application of the project:

In the late summer, water quality may deteriorate due to decreased detention time. But the main problem is the salinity of the effluents that is around 400 mg/lm of chlorides and decreases to a great extent the variety of crops that can be irrigated by the reclaimed effluents.

Remarkable results:

Although less costly and less sophisticated compared to Dan Project, sufficient water quality is obtained for irrigation of cotton and other non-edible crops.

Information Sources:

Shelef, G., Wastewater treatment, reclamation and reuse in Israel,

http://www.biu.ac.il/SOC/besa/ waterarticle3.html, updated on 01/11/2004.

Shelef G., Yossi A., 1996. The coming of era of intensive wastewater reuse in the Mediterranean Region, Water Sci. Technol., Vol. 33, No 10-11, pp 115-125.

Israel Ministry of Foreign Affairs web site, http://www.mfa.gov.il/mfa/go.asp?MFAH0as90 - Cikurel, H., Aharoni, A., Tal, N. 2001. Water reuse in Israel, http: //www.med-reunet.com/docsseminar/haim_cikurel.pdf.

CASE 3: Water reclamation and reuse in Arad

Location:

City of Arad (Israel).

Year of the project development:

1997.

Water origin:

Domestic wastewater.

Volume (or flow) of water affected:

Two types of emitters and related spacings were used: emitters with a flow rate of 3.5 l/h were installed at 0.75 metres apart on the laterals and emitters with a discharge of 2.3 l/h were spaced 0.5 m on the drip laterals.

Water treatment before reuse (technologies/process applied):

The effluent obtained from the stabilization pond system of the City of Arad is transported to a large reservoir (a capacity of around 0.5 × 106 m3) and subsequently is applied for irrigation.

Reclaimed water quality:

The effluent quality hardly meets the Israeli secondary level reuse criteria (Table 14). The several high surges in potassium content are probably due to intermittent wastewater disposal from large adjacent laundries. The initial concentrations of the microorganisms in the wastewater were 106/100 ml for faecal coliforms, 103/100 ml for F+ coliphages, and 104/100 ml for CN13 coliphages, respectively.

Table 14. Ranges of major constituents content (mg/l) of the wastewater

(after the filter) applied for irrigation in Arad Heights during 1997 season.

| Constituent | Range |
| --- | --- |
| TSS | 72-130 |
| BOD5 | 45-120 |
| N-NH4 | 34-58 |
| Alkalinity as CaCO3 | 330-495 |
| Cl | 204-260 |
| PO4 | 6.7-29.7 |
| Na | 180-270 |
| K | 26-90 |
| EC, dS/m | 1.50-1.80 |
| SAR (-) | 6.60-8.68 |
| PAR (-) | 0.41-1.41 |

Source: ISQW, 1981.

Water reuse applications:

Vineyards irrigation.

Total area affected by irrigation:

Not data available.

Types of products cultivated in irrigated areas:

Vineyard orchards.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Data not available.

Problems founded in the start-up, development or final application of the project:

Frequently, a high content of nitrogen was observed, which might have adverse effects on the wine quality.

Remarkable results:

When adopting disposal technologies that allow the effluent to remain in the soil media, with no exposure to workers or the on surface foliage parts of the plants, the health and environmental risks can be diminished. This benefit is reinforced by the fact that only relatively small and controlled amounts of effluent are discharged for irrigation, thus the flow towards the deeper soil layers is minimized. The field findings lead to the following main conclusions.

1. The soil is capable of removing Faecal Coliforms, F + and CN13 coliphages, and helminth eggs used as faecal pollution indicators, when drip irrigation system is applied.

2. The application of secondary treated domestic wastewater in this specific soil and under these irrigation systems, affects the survival of microorganisms, thus reducing the health and environmental risk.

3. Further research is needed on establishing the relationship among soil characteristics and removal of the microorganisms, and the mechanisms, which explain the helminth eggs elimination with this kind of irrigation systems.

Information Sources:

Oron, G., Armon, R. , Mandelbaum, R., Manor, Y., Campos, C., Gillerman, L., Salgot, M., Gerba, C., Klein, I., Enriquez, C. Secondary wastewater disposal for crop irrigation with minimal risk. Wat. Sci. & Technol., 43 (10), pp. 139-146, (2001).

CASE 4: The Jeezrael Valley project

Location:

The Jeezrael Valley in Israel (Figure 24).

Figure 24. The Jeezrael Valley Project – Schematic map of the Master Plan.

Year of the project development:

The project began in1996.

Water origin:

The Jeezrael Valley receives irrigation water from part of the wastewater effluent of the Haifa metropolitan area (about 45,000 PE) through the “Kishon Complex” wastewater treatment and reuse scheme, and wastewater effluent from towns and small settlements in and around the Valley (about 120,000 PE).

Volume (or flow) of water affected:

The new Jeezrael Valley project supplied 6 Mm3 of treated effluent during its first year of operation (1996) and its expected to supply  about 13 Mm3/year or more by 2010.

Water treatment before reuse (technologies/process applied):

The project combines semi-intensive wastewater treatment plants situated near the urban areas with wastewater reservoirs situated in the rural areas. The main components of the scheme are listed herewith:

- 5-6 semi-intensive sewage treatment plants for the treatment sewage from towns and settlements in and around the Valley. The treatment plants consist of anaerobic ponds followed by aerated lagoons.

- Conduits which inter-connect the treatment plants and connect the plants to a network of wastewater reservoirs situated in the rural cultivated areas. The conduits enable conveyance of effluent from any treatment plant to any reservoir.

- Wastewater reservoirs to be operated in SBR (Sequential Batch Reactor) mode, either in series or in parallel in order to obtain high quality effluent.

- Disposal-reuse of the treated effluent via agricultural irrigation within the Valley.

During the start-up three treatment plants were commissioned:

- Adashim treatment plant, which treats mainly the sewage of Nazareth and Nazareth Illit, consist of three anaerobic ponds in parallel of 10,000 m3 each, followed by three aerated lagoons in parallel of 12,000 m3 each. This plant does not have any pre-treatment unit.

- Genigar treatment plant treats the sewage of Migdal Ha´emek. The plant consist of screen bars as a pre-treatment step, followed by three parallel anaerobic ponds of 26,000 m3 each, ending with two aerated lagoons in series of 26,000 and 30,000 m3.

- Yehoshua treatment plant treats mainly the sewage of Ramat Ishai. Row sewage entering the treatment plant consists mainly of domestic sewage and a relatively small proportion on industrial and commercial sewage. The plant comprises of screen bars as a pre-treatment step, followed by two anaerobic ponds of 2,100 m3 each (in parallel), ending with a single aereated lagoon of 8,000 m3.

Sewage flow into Adashim and Genigar treatment plant averaged about 10,000 and 5,000 m3/d respectively. Inflow to Yehoshua plant increased steadily throughout the first year of operation (from 450 m3/d at the beginning of this period to about 1,000 m3/d at its end).

Reclaimed water quality:

Table 15 presents average values of the quality  parameters defining the raw sewage entering the treatment plants.

Table 15. Flow capacity, organic loads and performance of the Jeezrael Valley sewage

treatment, storage and reuse project.

| Treatment step | Parameter average value | Units | Adashim WWTP | Genigar WWTP | Yehoshua WWTP |
| --- | --- | --- | --- | --- | --- |
| Raw sewage | Flow | m3/d | 9,850 | 5,520 | 1,000 |
|  | COD total | mg/l | 1,175 | 960 | 910 |
|  | COD diss | mg/l | 475 | 440 | 300 |
|  | BOD5 | mg/l | 625 | 435 | 450 |
|  | Toxicity | % inhibition | 46 | 37 | 32 |
| Anaerobic ponds | Residence time | Days | 3.1 | 9.6 | 2 |
|  | Organic load | g BOD/m3/d | 200 | 46 | 200 |
|  | COD removal | % | 33 | 45 | 46 |
|  | COD removal | g COD/m3/d | 136 | 162 | 150 |
|  | pH |  | 7.0 | 7.2 | 7.2 |
| Aerated lagoons | Residence time | Days | 3.7 | 10.3 | 8 |
|  | COD removal | % | 37 | 65 | 53 |
|  | COD removal | g COD/m3/d | 82 | 72 | 47 |
| Anaerobic ponds + Aerated lagoons | Outflow COD | mg/l | 470 | 185 | 230 |
|  | Outflow BOD5 | mg/l | 110 | 25 | 23 |
|  | COT removal | % | 60 | 82 | 65 |
|  | BOD5 removal | % | 82 | 95 | 95 |
|  | Outflow toxicity | % inhibition | 15 | 10 | 15 |
| Wastewater reservoirs | Outflow BOD5 | mg/l | 10 | 8 | 15 |
|  | Outflow F.Coli. | number/100 ml | 1.3E3 | 1.4E3 | 1.7E3 |
|  | Outflow toxicity | % inhibition | 4 | 7 | 5 |
|  | Outflow EC | mmhos/cm | 1.58 | 1.97 | 1.91 |
|  | Outflow Boron | mg/l | 0.42 | 0.39 | 0.33 |
| System performance | BOD5 removal | % | 98 | 98 | 99 |
|  | Toxicity reduction | % | 91 | 81 | 84 |

Water reuse applications:

Irrigation of crops.

Total area affected by irrigation:

Not data available.

Types of products cultivated in irrigated areas:

Not data available.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Not data available.

Problems founded in the start-up, development or final application of the project:

The massive population growth in the settlements connected to the plants made the inflow to the plants increases.

During the first year of operation Faecal Coliform removal was somewhat deficient. This was a result of temporary constrains not enabling operation of the reservoirs as real SBR reactors.

Remarkable results:

Water reuse in the Jeezrael Valley takes advantage of the proximity of the urban communities to the cultivated areas.

The scheme, which is based on an existing situation, succeeds to combine semi-intensive wastewater treatment plants with wastewater reservoirs. By integrating the reservoirs into the treatment system and operating then as SBR reactors it was possible to enhance the systems´s performance and reduce costs.

Information Sources:

Friedler, E. The Jeezrael Valley project for wastewater reclamation and reuse, Israel. Wat. Sci. & Technol., 40 (4-5), pp. 347-354, (1999).

Selected cases in Italy

In Italy wastewater reuse is mainly geared toward agricultural irrigation, even if some projects concern industrial reuse and landscape irrigation. In the last years several wastewater reuse systems have been implemented not only in arid and semi-arid regions of Southern Italy, but also in Northern Italy (Emilia Romagna, Valle d’Aosta, Veneto), where available water resources generally meet water demand for different uses.

Since the 1970s water-planning studies have been carried out for various Italian regions including Sicilia, Calabria and Emilia Romagna. Some of these plans have raised objections because of the relevant works required, the elevated costs of construction and the optimistic forecasts of wastewater availability.

In Valle d’Aosta the municipal wastewater reuse system of St. Cristophe-Aosta-Quart (148,000 PE) will be in operation by the end of 2000. The treated wastewater (32,600 m3/day) will mainly be used for landscape irrigation and fire-protection. In the Autonomous Province of Bolzano, even though water resources availability matches water demand, there is an increasing interest in wastewater reuse. Recently, two small reuse systems have been designed: Appiano (1,250 PE) and Verano (1,200 PE). In Veneto the wastewater reuse project (wastewater flow rate about 70 l/s) of Rosalina Mare (Province of Rovigo) has been designed for landscape and agricultural irrigation (30% and 70% of available flow, respectively). In Emilia Romagna, mainly in the coastal areas, there are many cases of the programmed utilisation of the municipal treated wastewater for irrigation and environmental protection purposes. The largest wastewater reuse system (Basso Rubicone treatment plant, 1250 m3/day) covers an area of about 400 hectares for orchard irrigation.

In Toscana there are two important examples of wastewater reuse for industrial water supply. In Piombino the municipal treated wastewaters (10,000 m3/day) are reused for the cooling in the steel industry. In Prato, in the textile industrial district, about 11,000 m3/day of municipal treated wastewater are used for industrial processing. The regional governments of Abruzzo and Basilicata have recently included norms concerning wastewater reuse in their regional regulations regarding water resources management (Abruzzo) and reclamation water plan (Basilicata); however, no reuse systems have yet been designed. In the Sarno area (Campania), within a reclamation project of the river basin, six new plants will be constructed for treatment of municipal and industrial (agro-food) wastewater. The treated wastewater will be used for irrigation purposes (mainly tomatoes). In the Salento area (Puglia), where the lack of water resources is coupled with the organic pollution of groundwaters, about 16,000 m3/day (about 100,000 PE) of treated wastewater (biological treatment plus final filtration) are about to be made available for irrigation.

In Sardegna, as a result of the lack of water resources exacerbated by the droughts of 1990 and 1995, a state of emergency was declared in 1995 and the Italian government drew up a programme for financial provision by the State and local government authorities with the aim of reducing, at least in part, the serious water shortage. Amongst others, wastewater reuse was considered one of the key-actions to face the water supply emergency. Within the framework of a local government programme and EU funded actions, a new wastewater reclamation scheme is actually implemented for using directly the effluent produced by the “Is Arenas” plant which serves the city of Cagliari and its suburbs. The treated wastewater volume is 35 Mm3 per year, with a short-term forecast of 60 Mm3. The reuse scheme includes both direct reuse for agricultural purposes and intermediate storage in reservoirs with further treatment before agricultural irrigation. In Villasimius (province of Cagliari) wastewaters of tertiary treatment plant will be soon available for irrigation of about 200 hectares.

In Sicilia, where the experiences of uncontrolled wastewater reuse are so common, for several years treated wastewater of Grammichele (about 1,500 m3/day), a small rural town located in Eastern Sicily (district of Catania), have been used for the irrigation of citrus orchards. Several municipalities (such as Caltagirone, Mineo, S.Michele di Ganzaria, etc.) close to Grammichele have planned to reuse municipal wastewater in order to meet the increasing water demand for agricultural purposes. Recently the Sicilian Government has authorized and financed, with the support of the European Union, the wastewater reuse projects of Palermo (in a first stage about 28,000 m3/day of treated wastewater will be soon available) and Gela (where the 2 WWTPs will be integrated with storage reservoirs for a total capacity of 5 million m3). In both cases the treated wastewater will be used for agricultural irrigation of several thousand hectares.

CASE 1: Water reuse at catchment scale in Catania

Location:

Caltagirone and Grammichelle, Catanias, Italy.

Year of the project development:

2001.

Water origin:

Urban wastewater from Caltagirone and Grammichelle WWTP.

Volume (or flow) of water affected:

The treated effluent of Grammichelle is 1,500 m3/d and the effluent of Caltagirone is 5,200 m3/d.

Water treatment before reuse (technologies/process applied):

Grammichelle is equipped with a combined sewage network and an activated sludge treatment plant. The treatment plant includes the following steps: coarse screening, grit removal, aeration by activated sludge, secondary sedimentation and chlorine contact tank. The treated effluent is stored in a tank for daily regulation and then distributed to numerous farmer associations, located mainly in the Caltagirone Plains at the foot of the town, through a distribution pipeline network (over 10 km piping system).

The city of Caltagirone is equipped with a treatment plant where wastewater is subject to secondary treatment (activated sludge) and passed through sand filters. Effluent leaving the treatment plant is conveyed to a earth reservoir with a storage capacity of about 25,000 m3 and a depth of 5.0 m.

Reclaimed water quality:

Wastewater diverted from the Grammichelle and Caltagirone treatment plants had initially a BOD 5 of 130-200 mg/l and a COD of 200-280 mg/l. Analysis of samples collected from the reservoirs at the end of the storage period showed a decrease of such values of about 50%. At the end of the retention period and during release from the reservoirs, BOD5 and COD values were lower than 10 mg/l and 30 mg/l respectively. In both cases, the control parameters establish to maintain water quality were the following:

DBO5:  < 25 mg/l

COD: < 125 mg/l

SS: <35 mg/l

E. Coli: <1000 CFU / 100 ml

Nematode eggs: <1 egg/l

Water reuse applications:

Reclaimed water from the Grammichelle and Caltagirone sites is used for irrigation of orchards, irrigation of crops for caning industry and vegetables to be eaten cooked.

Total area affected by irrigation:

Not data available.

Types of products cultivated in irrigated areas:

Orange and olive trees.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Wastewater from the reuse system of Grammichele and Caltagirone has been used by the farmers free of charge. However, to recover network maintenance and pumping costs, the farmers are charged 0.05 €/m3 during the irrigation season (April to October), and half that price in the winter time, versus the 0.1 €/m3 charged by authorities fro freshwater supply. The higher price during the summer supports the additional costs for the water pumped from Pietranera well.

If water is stored in a 100,000 m3 reservoir, it is possible to treat a volume of 2,500 m3/d, with a detention time of about 40 days. Calculating that the costs for the construction for the reservoir is around 1,007,090 € and foreseen a life of 20 years (for amortisation purposes) with an interest rate of 5 %, the annual costs is 80,812 €. On the other hand, 15,494 € must be added to this amount for operation and maintenance costs, reaching a total annual costs of 96,306 € to treat 912,500 m3, with a unit cost of 0.11 €/m3. This additional cost (0.11 €/m3) is the one to be compared to the price of freshwater (0.1 €/m3). This comparison should also take into account the advantages stemming from treated wastewater reuse, as discharge into waterbodies is thus avoided.

The cost of 0.11 €/m3 can vary on length of detention time which in turn depends on quality of influent water. A shorter detention time, when possible, further decreases the unit cost of water, thus making wastewater reuse even more advantageous.

Problems founded in the start-up, development or final application of the project:

A bad behaviour of the Caltagirone treatment system at the beginning of the operation made necessary stop the process to solve problems related to a high phenol concentration in the effluent.

Remarkable results:

These cases show that storage in stabilization reservoirs offers the possibility to recover high volume, being this a desirable goal in coastal areas. The investigations carried out on wastewater storage as secondary treatment (Grammichelle site) or tertiary treatment (Caltagirone site), have shown the efficiency and the high reliability of this practice in the removal of microorganisms. At Caltagirone site, experiments have shown that storage in reservoir represented a valid solution to malfunctioning occurred in secondary conventional treatment (activated sludge system). Results from cost analysis allow to conclude that the overall economical and environmental cost of wastewater treatment and reuse is comparable, if not smaller, that the cost of using freshwater.

Information Sources:

Barbagallo, S., Cirelli, G., Osma, F. Grammichele and Caltagirone case-studies (Italy). Work package 2, annex 6 of the project Enhancement of integrated water management strategies with water reuse at catchment scale. Programme Environment and Climate.

CASE 2: Wastewater reuse in San Michele di Ganzaria, Sicily

Location:

San Michelle di Ganzara, Sicily (Italy).

Year of the project development:

2001.

Water origin:

It has been used the secondary effluent of San Michele di Ganzaria, a rural community of about 5,000 inhabitants, located 90 kilometres south-west from Catania at about 350 m above sea level. The area is characterised by a dry climate (around 500 mm/year precipitation) with severe summer droughts.

Volume (or flow) of water affected:

1.75 l/s.

Water treatment before reuse (technologies/process applied):

In March 2001, within a wastewater reuse project for the irrigation of about 150 ha of olive orchards, the existing conventional WWTP (trickling filter) has been integrated with a horizontal subsurface flow (HSSF) constructed wetland (CW) unit. The whole project includes a tertiary system made of two parallel lines each with two serial H-SSF reed bed units followed by a stabilisation reservoir (Figure 25). The monitored reed bed unit is used for the tertiary treatment of about 1,100 P.E. with a nominal detention time of about 2 days. The WWTP effluent is conveyed to the CW by a 340 m PVC pipeline. The CW unit is 78 m long, 25 m wide and the filtering bed area is 1,950 m2 (about 1.7 m2/P.E.) corresponding to an hydraulic loading rate of 0.077 m/d.

Figure 25. Lay-out of the treatment system of San Michele di Ganzaria, Eastern Sicily.

The filtering bed, made of 8-10 mm gravel with a porosity of 0.38, is 0.6 m deep and its bottom has a slope of about 1% while its surface is perfectly flat; the average water depth is 0.4 m. Both the excavated bed and the banks are lined with a 4 mm thick bentonitis sheet. Earth banks (with a slope of 3:1) were covered with jute nets to facilitate vegetation establishment and prevent soil erosion.

The influent is distributed at the bed-head through a perforated 200 mm pipe transversal to flow direction. Wastewater is intercepted downstream by a transversal perforated pipe and conveyed to an adjustable outlet controlling the water level in the filtering bed as recommended in USEPA.

Reclaimed water quality:

The average concentrations of TSS (379,7 mg/l), BOD5 (298,3 mg/l) and COD (516,8 mg/l) detected in rough wastewater can be classified as medium to strong. Other parameters had, in the same samples, the following concentration: Total Nitrogen 44,2 mg/l; Total Phosphorous 10,5 mg/l E. Coli 1.E+07 CFU/100 ml; Faecal Coliform 2.E+07 CFU/100 ml; Helminth Eggs 1.5/100 ml.

Mean removal efficiencies ranged from 65% to 88% (TSS), 53% to 84% (BOD5), 62% to 80% (COD), 14% to 52% (TN), 15% to 45% (TP), 95% to 99.8% (Faecal Coliforms).

Water reuse applications:

Irrigation.

Total area affected by irrigation:

150 ha.

Types of products cultivated in irrigated areas:

Olive trees.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Not data available.

Problems founded in the start-up, development or final application of the project:

In Sicily many wastewater treatment plants of small-medium communities are not in operation due to management problems and high O&M costs.

The bacteriological quality of CW effluent seems to be strongly affected by influent quality.

Remarkable results:

The reed bed unit determined a significant improvement of WWTP effluent quality in terms of TSS and BOD5, with values always below the limits imposed by European Union and Italian regulation. The CW unit was very effective in removal of helminth eggs.

Information Sources:

Barbagallo, S., Cirelli, G., Consoli, S., Toscano, A., Zimbone, S. Performances od a H-SSF constructed wetland as tertiary treatment for watewster reuse: the case study of “S. Michelle di Ganzara” (Sicily). www.med-reunet.com/05ginfo/05_case.asp

Selected cases in Jordan

CASE 1: Jordan University of Science and Technology (JUST) and Wadi Hassan Pilot Projects (WHPP) Wastewater Treatment Plants

Location:

Near Irbid City - North of Jordan.

Year of the project development:

The treatment plants have been in operation since 2003.

Water origin:

The treatment plants abovementioned.

Volume (or flow) of water affected:

From Wadi Hassan WWTP = 365,250m3/y, 1000m3/day.

From JUST = 219,150 m3/y, 600m3/day.

Water treatment before reuse (technologies/process applied):

Wadi Hassan WWTP = Extended Aeration.

(JUST) WWTP = Rotating biological contactors (RBC)

Reclaimed water quality:

An analysis reveals the following parameters for the effluents:

Table 16. Effluents quality.

| Parameter | Wadi Hassan WWTP | JUST WWTP |
| --- | --- | --- |
| BOD | 9 mg/l | 5 mg/l |
| COD | 64 mg/l | 93 mg/l |
| TSS | 23 mg/l | 4 mg/l |
| NH4 | 0.97 mg/l as N | < 0.09 mg/l as N |
| E-Coli | 7,000 MPN/100 ml | - |
| Total Coliform | >=160,000 MPN/100 ml | < 2 MPN/100 ml |
| pH | - | 6.6 |

Water reuse applications:

Reclaimed water is used in irrigating fodder and fruit crops.

Total area affected by irrigation:

An average agricultural area of 720 donum (9,500 hectares).

Types of products cultivated in irrigated areas:

Fodder, cactus and fruit crops. At JUST main site, there are 5 sites included in the project. Field work went underway at all five sites, but only sites 1 & 5 were planted and the irrigation systems are established.

Site (1):- Known as Pilot Demonstration Site, contains 100 donums (1,300 ha, aprox.) includes cactus, fodder crops and pine trees.

Site (2):- Includes four hundred 400 donums (5,200 ha, aprox.), agriculture planning is underway and crop variety selection is determined.

Site (3):- Known as Memorial Site, includes 35 donums (450 ha, aprox.), site mapping and crop selection are underway.

Site (4):- Known as Orchard Site, includes 65 donums (850 ha, aprox.), site mapping and crop selection are underway.

Site (5):- Known as Wadi Hassan Site, contains 120 donums (1,600 ha, aprox.), planted with fruit trees, pistachio, almonds, olives and carobs.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Data not available.

Problems founded in the start-up, development or final application of the project:

Not remarkable problems reported.

Remarkable results:

Using conventional spray irrigation with re-used water was not feasible as an aerosol effect will be created which would travel beyond the boundaries of the project location. The solution was utilizing a drip irrigation system using in colour-coded purple pipes. In addition, PA (Consultation Agency) and JUST engineers introduced a new spraying system. With that system larger drops of water are produces to ensure no aerosol effect and spray does not travel beyond the boundaries of the site. This is the first time such a US pioneering technology has been used in the Jordan.

The plant crops grown on the JUST site included vetch and barley, as well as tree crops such as pistachio, almond, carob, fruited and non-fruited pine, cactus and olives. Once the crop products from the test site were proved (checked by the PA) to be safe revenues were generated from this project. The first harvest of barley and vetch (some 1,700 kilograms) were sold as animal fodder and revenues proceeds from the sales went to the JUST Student Fund.

Active participation of the student was one of the good outputs of this project. The income return from this project is allocated for financial support for the poor students. In addition the project serves as a case study for public awareness and for training as well as research activities.

Information Sources:

All information was provided from the treatment plant representatives.

CASE 2: Wadi Mousa Pilot Project

Location:

Near Petra City, South of Jordan.

Year of the project development:

The treatment plants have been in operation since 2003.

Water origin:

The treatment plant of Wadi Mousa.

Volume (or flow) of water affected:

316,306 m3/y, 866m3/day.

Water treatment before reuse (technologies/process applied):

Activated sludge

Reclaimed water quality:

An analysis reveals the following parameters for the effluents:

BOD			9 mg/

COD			32 mg/l

TSS			20 mg/l

NH4			4.2 mg/l as N.

Total Coliform	2,400 MPN/100 ml

E-Coli			23 MPN/100 ml

Water reuse applications:

Reclaimed water is used in irrigation.

Total area affected by irrigation:

An average agricultural area of 1,069 donum (14,000 hectares).

Types of products cultivated in irrigated areas:

Fodder crops and fruit trees and ornamentals. The project includes 2 sites, a 69 donum (900 ha) demonstration site adjacent to Petra WWTP, and a 1000 donum site (13,000 ha) to be planted by local farmers. The demonstration site have been planted and its irrigation system is fully operational, soil samples have been collected, analysed and evaluated, work has been initiated on the  (2nd) site, lease agreements with local farmers are developed, but not finalized, currently 300 donums (about 14 Units) are under preparation for planting.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Data not available.

Problems founded in the start-up, development or final application of the project:

One of the obstacles faced the project was the non uniform topography of the site which was overcame by the adoption f the appropriate irrigation design and cropping system.

Remarkable results:

This example may serve as a very good case study for wastewater reuse because it is highly organized and the farmers are actively involved in implementing the project. Moreover, the farmers, after hesitating at the beginning of the project and not accepting the idea of using wastewater for irrigation, began to compete with each other on conducting by themselves new projects. They start feel it can be managed safely and be a good source for their income and for employment.

Wadi Musa is near the historic city of Petra will be the first in the area to receive leases to irrigate with treated wastewater. These farmers are directly benefiting from the pilot demonstration farm that shows that reclaimed water can provide safe and reliable irrigation for some types of agriculture.

The experiment has been so successful that almost 60 hectares will now be distributed among local farmers for cultivation using reclaimed water re-use to encourage farmers to use reclaimed water for irrigation; the government is providing the know-how and latest technology through the project.  This pilot project is managed by PA Consulting Group in co-operation with the Jordanian Ministry of Water and Irrigation, and funded by the US Agency for International Development (USAID).

The project exploits the Petra Regional Wastewater Treatment plant, using treated wastewater on a variety of agricultural crops with several different irrigation methods.  PA has managed the design and planting in addition to the procurement and installation of a fully functioning drip irrigation system.

The farm grows field crops such as alfalfa, maize, sunflowers and Sudan grass, tree crops including pistachio, almond, olives, date palms, lemons, poplars, spruce and junipers, and many varieties of ornamental flowers including iris, geraniums, petunias and daisies. The yield of maize is approximately 25 percent higher than for maize grown with fresh water, and the yield for sunflowers is approximately 30 percent higher.

More than 2,000 trees and 400 shrubs and flowers have been planted to date.  The poplar trees in particular have demonstrated impressive growth, doubling in size in the three months since planting.

The project created a demand for the cut flowers in several of Petra's tourist hotels.  Hotel managers have said they will purchase all the flowers that can be produced at the site, demonstrating the economic benefits generated from the project and creating a market for the farmers even before they take control of the farm.

Funds from the sale of crops grown at the site will be used to establish a revolving fund for the farmers, including local Bedouin tribes, who will receive loans to help them establish and plant their lease holdings.

The land will be divided into plots of 1-2 hectares that farmers, after proper training, will begin cultivating. Training seminars for teaching farmers how to safely utilize re-used water in farming, as well as the best strategies for crop cultivation and the crops best suited for generating profits are hold.

Information Sources:

All information was provided from the treatment plant representatives.

CASE 3: Aqaba Pilot Proyect

Location:

Aqaba City - South of Jordan.

Year of the project development:

The treatment plants have been in operation since 2003.

Water origin:

Domestic wastewater from the treatment plant of Aqaba.

Volume (or flow) of water affected:

109,575 m3/y, for the project and 2,439,970 m3/y, to irrigate 2,150 donum (28,000 hectares). (highly variable flow and strength as a result of seasonal fluctuations caused by touristic activities and temperatures changes).

Water treatment before reuse (technologies/process applied):

The existing WWTP consist of stabilization ponds. A new secondary mechanical and tertiary treatment plant is under execution now.

Reclaimed water quality:

An analysis reveals the following parameters for the effluents:

BOD			111 mg/l

COD			345 mg/l

TSS			576 mg/l

NH4			48.1 mg/l as N.

PO4			11.04 mg/l

Total Coliform	160000 MPN/100 ml

E-Coli			17000 MPN/100 ml

Water reuse applications:

It is used in forest irrigation.

Total area affected by irrigation:

The project site = 100 donum (1,300 ha); the whole area to be irrigated = 2,150 donum (28,400 ha)

Types of products cultivated in irrigated areas:

Fodders, date-palm and forestry trees. The project includes three sites, The Pilot Demonstration Site of 100 donum, The Airport Site and The Aqaba Industrial Estate Site. The Aqaba project is under subcontract to ECODIT, also includes the design of irrigation systems, irrigation networks and equipment.

Costs: total cost of the project; final cost of water reuse per cubic meter:

The total cost of the three pilot projects is 3.4 million dollars funded by The United State Agency for International Development (USAID).

Problems founded in the start-up, development or final application of the project:

Not remarkable problems founded.

Remarkable results:

The site is considered an active tourist site as being in Aqaba city (the only Sea port in the country) which at the coast of the Red Sea. In addition the soil in the site is mostly sandy soil.

Information Sources:

www.hydro.ntua.gr/labs/sanitary/agricultural_reuse.htm#1.The%20Virginia%20Pipeline: %20Australia’s%20largest%20water%20recycling%20project (Al-Shreideh, B.,(2000), Reuse of Treated Wastewater and Treated Sludge in Agriculture as a Non-Conventional Resource in Jordan, The Hashemite Kingdom of Jordan, Ministry of Water and Irrigation, Water Authority, Amman, Jordan)

www.morganti.com/International/curr.asp

www.mwi.gov.jo/Investment%20plan/B.Project's%20Under%20Implementation/B.2%20Private%20Sector's%20Projects/3-Samra%20Wastewater%20Treatment%20Plant%20(BOT).htm

A.I. Jamrah, Assessment of characteristics and biological treatment technologies of Jordanian wastewater, Bioprocess Engineering 21 (1999) 331±340, (1999).

CASE 4: Al-Samra WWTP

Location:

Al-Samra.

Year of the project development:

Al-Samra began operating in 1985.

Water origin:

Domestic wastewater.

Volume (or flow) of water affected:

150,000 m3/day (54.8 Mm3/yr).

Water treatment before reuse (technologies/process applied):

Three trains of ponds, each containing two anaerobic ponds, four facultative ponds and four maturation ponds.

Reclaimed water quality:

In terms of overall performance in 1986, the Al Samra ponds were able to remove 80% and 91% of the incoming BOD on the basis of unfiltered and filtered final effluent samples, respectively. This result was obtained for only two trains of ponds in operation when the design organic and hydraulic loading were exceeded by 57% and 25%, respectively.  At the same time, a reduction of 4.6 log was employed in Faecal Coliforms.  It is clear that the final effluent did not meet the WHO (1989) guidelines but no Nematode Eggs were noticed in the final effluent:

pH			7.1

COD			320-382 mg/L

TSS			119-171 mg/L

Water reuse applications:

Reclaimed wastewater is used in irrigation.

Total area affected by irrigation:

Area irrigated by reclaimed wastewater is reported to be about 500 ha. The excess flows are diverted to the King Talal Reservoir before being used in the irrigation of agricultural land in the Jordan Valley.

Types of products cultivated in irrigated areas:

At present 35% of the reuse area is planted with olive trees. Remaining 65% is forest area, fodder crops and non-restricted vegetables planted for experimental purposes.

Costs: total cost of the project; final cost of water reuse per cubic meter:

The total cost of the project reached 320,000,000 US$.

Problems founded in the start-up, development or final application of the project:

Due to high organic loading on the ponds, first eight ponds in each train can go anaerobic and only the final two behave as facultative aerobic ponds.

Remarkable results:

35% of the reuse area is planted with olive trees.  Wastewater reuse in these areas is reported as very successful. The area is rented by private sector since 1996.

Information Sources:

www.fao.org/docrep/T0551E/t0551e0b.htm#9.1%20advanced%20wastewater%20treatment: %20california,%20usa

www.hydro.ntua.gr/labs/sanitary/agricultural_reuse.htm#1.The%20Virginia%20Pipeline: %20Australia’s%20largest%20water%20recycling%20project

www.morganti.czom/International/curr.asp

www.mwi.gov.jo/Investment%20plan/B.Project's%20Under%20Implementation/B.2%20Private%20Sector's%20Projects/3Samra%20Wastewater%20Treatment%20Plant%20(BOT).htm

CASE 5: Ramtha WWTP

Location:

Ramtha.

Year of the project development:

1999.

Water origin:

Domestic wastewater.

Volume (or flow) of water affected:

0.7 Mm3 in 1999.

Water treatment before reuse (technologies/process applied):

Waste stabilisation ponds are utilized. The plant will be expanded to treat 5,400 m3/d. Modified treatment will also include pre-treatment, biological treatment and sand filters to remove algae and parasites.

Reclaimed water quality:

Not data available.

Water reuse applications:

It is used in irrigation.

Total area affected by irrigation:

Area irrigated by reclaimed wastewater is reported to be about 50 ha.

Types of products cultivated in irrigated areas:

Forest and fodder crops. 49 ha of reuse area has been planted with barley, Sudan grass, and alfalfa

Costs: total cost of the project; final cost of water reuse per cubic meter:

The plant will be expanded to achieve higher quality and water reuse. The cost of expansion will be 9.5 million €. The plant will be expanded to achieve higher quality and water reuse. The cost of expansion will be 9.5 million €.

Problems founded in the start-up, development or final application of the project:

Not data reported.

Remarkable results:

Not data reported.

Information Sources:

www.hydro.ntua.gr/labs/sanitary/agricultural_reuse.htm#7. The Jordanian Experience on Wastewater Reuse

www.vivendiwatersystems.com/uk/CP_311001/jordan.htm

A.I. Jamrah, Assessment of characteristics and biological treatment technologies of Jordanian wastewater, Bioprocess Engineering 21 (1999) 331±340 ,1999

Selected cases in Lebanon

Lebanon does not have any success stories, per se, since all wastewater treatment plants achieving secondary treatment are small-scale community-based plants that are discharging their effluent directly into the environment (river beds, natural drainage channels, etc…) and their use in irrigation at present is extremely limited.

Most operational secondary-treatment plants were initially designed with a specific objective of treating and reusing the wastewater stream for irrigation; however, none of these plants is actually doing so because of a number of reasons. In some cases the effluent quality does not comply with the standards set for treated wastewater reuse in agriculture.  Another problem relates to the fact that these plants already generate relatively small quantities of effluent and this quantity is further subject to seasonal fluctuations that make its use unfeasible in certain periods of the year when it’s needed most. Furthermore, the cost of transmitting the effluent to the areas to be irrigated has in many cases shown to be unfeasible.

Two interesting examples, where plants intend to use their effluent in irrigating ornamental trees, reeds, and bamboos are discussed in the following sections. These include the Hasbaya plant and the Yanta plant, both funded by USAID and implemented through Mercy Corps Lebannon (MCL) and Young Men´s Christian Association (YMCA), respectively. MCL and YMCA are two NGO’s, among others, that execute small-scale wastewater treatment facilities throughout the country using external financing sources.

CASE 1: The Hasbaya Plant

The Hasbaya WWTP is one of the very few local examples that have the potential of becoming a success story; this plant was designed with the objective of having its effluent used in irrigation.

Location:

The plant is situated at the border of the town of Hasbaya and is located at an altitude of 750 m above sea level to the east of the Hasbani River, which is considered a major drinking water source supplying several villages in the area, including the village of Hasbaya.  The town of Hasbaya is the main town in the Hasbaya Caza and one of the major towns in the Mohafaza of Nabatieh, South Lebanon (Figure 26). The area is mainly agricultural in nature and is intensively cultivated with olive trees. It can also be considered as a touristic area, especially during the summer season, when a large number of people visit the area and are served by many restaurants situated on both sides of the Hasbani River (Figure 27).

The major sources of pollution in the area include the municipal wastewater from Hasbaya town and the wastewater generated by the several olive oil presses located in the region. The wastewater from the different sources discharge directly into the Hasbani River or into natural drainage channels that lead to the Hasbani River. Before the implementation of the current wastewater plant in Hasbaya, the municipal wastewater used to be discharged into two open channels running from Hasbaya to the Hasbani River. The quantity of wastewater normally increases during the weekends and the summer season, when most immigrants and Hasbaya locals working in different cities across the country visit the village

Figure 26. Overview of the town of Hasbaya,

(EIA report for Hasbaya WWTP, MCL, 2002).

Figure 27. Restaurants located along the Hasbani River,

(EIA report for Hasbaya WWTP, MCL, 2002).

The restaurants located along the river are not connected to the sewer network and consequently all their wastewater is discharged directly, without treatment, into the river. This quantity increases during the summer. The olive oil presses represents one of the major environmental stresses in the area, especially during the olive harvesting seasons when the wastewater from these olive presses is discharged without any form of treatment into the river.

Year of the project development:

The plant, designed and constructed by MCL upon the request of the municipality of Hasbaya, covers a built up area of about 2000 m2. Even though two municipal wastewater treatment plants were designed for this town, only one was completed and became operational by the year 2002 (Figure 28). The construction of the other plant was completed but has not been put into operation.

Figure 28. The Hasbaya Plant.

Water origin:

The treatment plants abovementioned.

Volume (or flow) of water affected:

The operating plant treats the raw wastewater discharged by the town of Hasbaya. It was designed to serve 14,000 persons (projected population for the year 2015). The estimated amount of wastewater that is treated by the plant at present is around 900 m3/day.

Water treatment before reuse (technologies/process applied):

The treatment process adopted in the Hasbaya WWTP comprises anerobic/aerobic secondary treatment. Figure 29 illustrates the different steps of the process described in this section. The first stage includes the screening, which consists of two galvanized iron screens (coarse and medium) that are installed at several upstream manholes to remove bulky items before reaching the biological treatment level. The pore diameter of the screens installed range between 10 and 2 cm. The anaerobic process adopted is the up-flow anaerobic sludge blanket reactor (UASB).

This system was proven to be as efficient as conventional aerobic reactors in removing organic matter and total suspended solids with the advantage of not using mechanical equipment. The plant accommodates six UASB reactors; each reactor has been designed with an average volume of 70 m3. The expected retention period within the reactors is estimated at 12 hours, while the BOD removal efficiency is expected to exceed 80 percent.

Aerobic filter beds are introduced to further treat the effluent from the anaerobic stage. Circular open brick tanks, with wall openings at the bottom and filled with a medium made of short pieces of hollow corrugated PVC tubes, are used for this purpose. A gravel-packed bed is used to filter the effluent from the aerobic filter beds before being passed to the holding tanks and the final effluent is discharged into a natural drainage channel which eventually reaches the Hasbani River.

The design of the plant includes a gas collection system. The anaerobic stage mainly produces a mixture of methane (CH4) and carbon dioxide (CO2) gas, which is transmitted through a one-inch diameter pipe to a metallic floating-cover gas-holding tank from where it is transmitted to a flare.

Figure 29. The Hasbaya Plant process diagram,

(EIA report for Hasbaya WWTP, MCL, 2002).

Reclaimed water quality:

The physical and chemical characteristics of the raw sewage collected from Hasbaya’s two open discharge channels are represented in Table 17.

Table 17. Raw sewage quality in Hasbaya*.

| Parameter | Open Channel #11 | Open Channel # 21 |
| --- | --- | --- |
| pH | 7.34 | 7.21 |
| Temperature | 26.6 ºC | 25.3 ºC |
| Ortho-phosphates | 216 mg/L | 140 mg/L |
| Nitrate-nitrogen | 1.2 mg/L | 1.1 mg/L |
| Ammonia-nitrogen | 118 mg/L | 50 mg/L |
| BOD5 | 850 mg/L | 60 mg/L |
| COD | 1,058 mg/L | 85 mg/L |
| TSS | 800 mg/L | 12 mg/L |

Source: EIA report for Hasbaya WWTP, MCL, 2002

*Samples were collected from incoming channels to the plant.

Information on the quality of the influent and effluent of the Hasbaya WWTP is provided in Table 18.

Table 18. Removal efficiency of Hasbaya wastewater treatment plant.

| Effluent quantity (m3/d) | Influent quality | Effluent quality | Effluent disposal method | Removal efficiency |
| --- | --- | --- | --- | --- |
| 900 | BOD5: 245 mg/l COD: mg/l TSS: mg/l | BOD5: 121.5 mg/l COD: 243 mg/l TSS: 36 mg/l | Natural drainage channel (ends in a river) | BOD5: 50 % COD: 55 % TSS: 73 % |

Source: EIA report for Hasbaya WWTP, MCL, 2002

The samples were collected and tested few months after starting the operation of the plant and the results of the tests do not comply with Lebanese standards for surface water discharge. However, the removal efficiency of this plant is expected to improve after some time even though no recent quality analysis is available to backup this assumption.

Water reuse applications:

Currently the treated effluent in the Hasbaya WWTP is discharged mostly into the natural drainage channel located just below the plant. However, the municipality is using an unknown portion of the treated wastewater for irrigating trees grown around the perimeter of the plant in order to improve landscape conditions. Even though the plant was originally designed to use the treated effluent for irrigation, the current quality of the effluent does not comply with standards for use of effluent in irrigation.

With some upgrading, training of personnel working at the plant, and improvement in the monitoring and maintenance activities, the effluent quality of this plant could improve.

Total area affected by irrigation:

Data unknown.

Types of products cultivated in irrigated areas:

Olive trees mainly.

Costs: total cost of the project; final cost of water reuse per cubic meter:

As stated previously, the two WWTPs are located at the outskirts of the town of Hasbaya, and only one plant is currently operational. The actual total construction cost of the individual WWTPs was not available at the MCL; however, the actual total cost of construction for both plants was set at about 300,000 US$. The plant is located at the lowest part of the Hasbaya area adjacent to two existing open channels in order to reduce pumping needs. The municipality contributed an equivalent of 60,000 US$ in the form of land and labour/equipment used in excavation. The land is located within a privately owned agricultural area primarily used for olive cultivation. It is connected by a road and located in a sparsely populated area.  The number and cost of the labour force was not available, and as such the unit cost of water produced for reuse could not be calculated.

Problems founded in the start-up, development or final application of the project:

No data available.

Remarkable results:

The most remarkable result of this project is the mitigation of the environmental stresses in the area that were present before this project became operational. Even though the quality of the effluent is still not complying with standards, it is still a good step towards reducing the pollution resulting from the previous wastewater practices in the Hasbaya area. It also helped in reducing the environmental costs associated with the adverse impact on human health (especially of swimmers in the Hasbani River) and degradation of the current natural resources in the area.

As pointed out, the plant is located relatively far from residential areas of the village. No industrial, tourist or commercial establishments are currently operating in the vicinity of the plant. At the early stages of operation, some residents complained from the odours generated; this was due to a broken methane transmission pipe, which was later remedied. The only economic activity in the area of the treatment plant is agricultural in nature (olive cultivation). It is to be noted that several tourist establishments operate along the banks of the Hasbani River and can be adversely affected by the discharge of the low quality effluent into the river. In addition, due to the small size of the plant, no significant visual interruptions are associated with the facility.

The positive impacts include: (1) the abatement of pollution and public health hazards in the area, (2) improvement in the quality of the Hasbani River, (3) augmenting agricultural irrigation supplies, (4) reducing the use of chemical fertilizers and saving on the cost of fertilizers, and (5) generation of methane, which could be used as an energy source.

One major handicap results from the location of the plant at a level that is lower than the land available for irrigation. In this case pumping will have to be resorted to, which could prove costly and would limit the use of this water for irrigation purposes.

Information Sources:

El Fadel, M.; Wastewater treatment plant assessment for Mercy Corps Lebanon; Environmental Impact Assessment for Hasbaya Wastewater treatment plant; Mercy Corps Lebanon, 2002.

CASE 2: The Yanta Plant

Two plants are located in Yanta village and both are constructed through YMCA. Their capacities are 240 m3/day and 120 m3/day, and their design population is 1,250 and 750 persons, respectively. However, the smaller plant is the one that is thriving more, since the second plant (Figure 30) is facing problems with the electrical supply (a drop in voltage is impeding the proper operation of the plant). The quality of the effluent from the smaller plant is quite acceptable and there are plans for using this effluent in irrigation.

Figure 30. The Yanta Plant facing power supply problems.

Location:

The Yanta WWTP is situated in Yanta village, which is located at an elevation of about 1,400 m above sea level. The village falls in the Caza of Rashaiya, Mohafaza of the Bekaa. The climate is relatively cold in the region, especially during winter season when invariably the village is covered by snow.

Year of the project development:

The Yanta Plant was completed and became operational at the beginning of the year 2002.

Water origin:

The type of influent to the plant is domestic wastewater from near cities.

Volume (or flow) of water affected:

The plant serves 750 people and its capacity is 120 m3/day (Figure 31). However, at present it is using nearly half of its capacity and generating an average flow of about 60 m3/day.

Water treatment before reuse (technologies/process applied):

The technology used is a combination of aerobic and anaerobic processes. Raw sewage flows by gravity through an inlet screen installed within an existing septic tank to a newly constructed buffer compartment, in which the influent submersible pumps are installed. Raw influent is then pumped to the Hans Reactor structure.

The Hans Reactor Structure as specified in the design sheet includes:

- Screen (washable)

- Air compressors (two- one duty/one standby)

- Airlift recycling system

- Sludge transfer system

- Aerator

- Bio filters

- Cover

Figure 31. The successful Yanta Plant.

The structure is made of steel, epoxy coated. Oxygen demand, for the stabilization, process is secured by the airlift aerator. The air being supplied by the compressor is dispersed by a maintenance-free special nozzle, in the form of a large number of micro bubbles which (while rising to the surface) saturate the sewage with oxygen and simultaneously drive the sewage to the surface. The evolved hydrostatic pressure forces the sewage back down to the bottom. A self cleaning feature is inherent in the behaviour of the unit, which protects the biological filter against any possible clogging and makes the unit virtually maintenance free.

Treated water flows to a final sedimentation compartment where suspended particles settle in the tank, from where the sludge is pumped back to the existing septic tank at periodic intervals by the airlift system.

Treated water rises through the surrounding compartment to the water outlet. When the septic tank becomes filled with sludge to about 50 % of its capacity, it is emptied in the standard manner. The advantage being that the septic tank is emptied less frequently then in a conventional plant.

Finally treated effluent is discharged. This effluent can be chlorinated and then directed to the treated effluent/irrigation tank at a quality that will eliminate the need for tertiary treatment. However, at present, the effluent is not being chlorinated. Refer to Figure 32 for a plan showing the components of the plant.

Figure 32. The technology used in Yanta Plant.

Reclaimed water quality:

There are no recent quality test results for the influent and effluent of the plant. According to the manager of the Environmental Program at YMCA, the figures in the Yanta Plant are similar to those of another plant whose influent and effluent were sampled very recently. The BOD of the influent and the effluent was found to be > 750 mg/l and < 25 mg/l, respectively.

Water reuse applications:

The effluent of Yanta is currently being discharged in a natural drainage channel. However, there are plans for using this effluent for irrigation of reeds and bamboos that are going to be planted in the 5000 m2-land surrounding the plant (Figure 33). The land is owned by the Municipality. This project will help in enhancing the local livelihood of the people of Yanta through generating new work opportunities such as the manufacturing of baskets and chairs using the planted reeds and bamboo.

Figure 33.  The future reeds and bamboo field surrounding the Yanta Plant.

Total area affected by irrigation:

5000 m2 land surrounding the plant.

Types of products cultivated in irrigated areas:

Reeds, bamboos.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Although the deal was that YMCA will fund 70% of the project, and the remaining will be contributed by the Municipality from external funding, YMCA had to fund all of the project at the beginning as the Municipality was unable to contribute their share at the time of construction. In addition, they had to construct a wastewater collection network for the whole village at a cost of 307,000 US$. The total cost of the network and the 2 plants was 421,000 USD. The municipality contributed an equivalent of 114,000 US$ from the total cost after the completion of the project.

Table 19: Cost of the Yanta Plant.

| Component | Cost of the two plants (USD) | Cost of the chosen plant (USD)1 |
| --- | --- | --- |
| Construction Material (Facility) | 33,000 | 11,000 |
| Equipment | 67,000 | 22,333 |
| Labour Force | 14,000 | 4,667 |
| Total cost | 114,000 | 38,000 |

Source: Personal interview 2, 2003

1 The cost of the plant considered as the success story was

calculated as 1/3 of the total cost of the two plants of Yanta.

Problems founded in the start-up, development or final application of the project:

Two major problems faced during the execution of the project included: (1) the local political conflicts, (2) the climate in the village; situated at an altitude of around 1,400 m, the low temperature and the snow cover slowed down the construction works.

Remarkable results:

The fact that the Yanta plants are situated very far from residences ensured a wide public acceptance. Moreover, the implementation of the project ended the hazardous discharge of raw sewage directly into the environment. It is expected that the effluent will be used in irrigation thus adding to the positive impacts of the project.

Information Sources:

Personal Interview 1, with Engineer Nabil Abdulah, project manager at the Mercy Corps Lebanon, December 23, 2003.

Personal Interview 2, with Engineer Joseph Khalil Kassab, manager of the Environmental Program at YMCA, Lebanon, December 24, 2003.

Selected cases in Morocco

CASE 1: Ben Slimane Wastewater Treatment Plants

Location:

80 km South West of Rabat.

Year of the project development:

The treatment plants have been in operation since 1997.

Water origin:

Urban water from 37,000 habitants.

Volume (or flow) of water affected:

6,600 m3/d.

Water treatment before reuse (technologies/process applied):

The wastewater suffers four stages of treatment: pretreatment and primary, secondary and tertiary treatment. The technology is based on a combination of the techniques of natural lagoons, improved by a light change: the installation of an air source at secondary level and the storage of a great amount of water, all in line with a poolish system in deep tanks.

Reclaimed water quality:

An analysis reveals the following parameters for the effluents:

Table 20. Effluent quality.

| Parameter | Influent | Effluent | Yield (%) |
| --- | --- | --- | --- |
| BOD (mg/L) | 135 | 23 | 83 |
| COD (mg/L) | 365 | 63 | 83 |
| TSS (mg/L) | 148 | 14 | 91 |
| TKN (mg N/L) | 56.11 | 24.43 | 56 |
| P-total (mh P/L) | 6.71 | 4.02 | 40 |
| Total Coliform | 6 Ulog | 22 | 100 |
| Helminth egg per litre | 9 | 0 | 100 |

Water reuse applications:

Reclaimed water is used in irrigation of golf courses by sprikling.

Total area affected by irrigation:

An average of 100 hectares.

Types of products cultivated in irrigated areas:

Grass.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Investment: 96.44 MDH (~ 10 million US$)

Exploitation cost: 935, 784 DH/ year (~ 97,322 US$)

Cost of clean water produced: ~1.45 DH/m3 (~0.1508 US$)

Selling price of one liter of purified water: 2 DH/m3 (~ 0.208 US$)

Drinkable water price: 4 DH/m3 (~ 0.416 US$)

Problems founded in the start-up, development or final application of the project:

Not remarkable problems reported.

Remarkable results:

Water purified in conformity with WHO directives. Important fertilizing value (contribution to the land: 308 kg nitrogen per hectare.

Information Sources:

All information was provided from the treatment plant representatives.

CASE 2: Wastewater reuse under saline conditions

Location:

The city of Quarzazate, located 600 km in the South-West of Rabat, Morocco. The treatment facilities are located in less than 1,000 m from the lake of the Dam Mansour Addahbi, where wastewater is usually disposed off.

Year of the project development:

1990-1993.

Water origin:

Wastewater of domestic origin with not noticeable industrial contribution.

Volume (or flow) of water affected:

From a flow of 50 l/s, only 5 l/s are diverted from main service to be treated in the waste stabilization pond (WSP) plant.

Water treatment before reuse (technologies/process applied):

The raw wastewater was pretreated for the removal of coarse material, grease and sand and then pumped into the anaerobic pond at the head of the water stabilization pond at the head of the WSP train.

Reclaimed water quality:

The WSP treatment performances are satisfactory. On average, BOD is reduce by 80%, N-NH4+ by 37% and P-PO4-3 by 32%. Four logarithmic units were recorded in Faecal Coiform (FC) reduction. FC counts do no exceed 1000/100 ml on a yearly mean and Helminth eggs were totally eliminated from the effluent. Table 21 shows the main physicochemical characteristics of agronomic interest for the two types of water: raw wastewater and treated wastewater.

Table 21. Physico -chemical characteristics of the wastewater.

| Parameters | Raw Wastewater | Treated Wastewater |
| --- | --- | --- |
| pH | 7.59 | 8.50 |
| EC (mmhos/cm) | 3.06 | 2.94 |
| P-PO4-3 (mg/l) | 23.00 | 15.73 |
| N-NH4+ (mg/l) | 40.30 | 25.2 |
| N-NO3- (mg/l) | 0.70 | 0.40 |
| HCO3- (meq/l) | 12.30 | 10.40 |
| SO4-2 (meq/l) | 7.88 | 2.82 |
| Cl- (meq/l) | 12.87 | 12.6 |
| Ca+2 (meq/l) | 7.25 | 5.9 |
| Mg+2 (meq/l) | 5.35 | 5.97 |
| K+ (meq/l) | 0.45 | 0.63 |
| Na+ (meq/l) | 14.10 | 14.0 |
| SAR | 5.62 | 5.75 |

Water reuse applications:

Irrigation.

Total area affected by irrigation:

The assays were carried out in an area of 33 m2.

Types of products cultivated in irrigated areas:

The crops tested on surface irrigation can be classified in two groups: a salt sensitive group which includes cucumber and turnips, and a salt tolerant group which includes alfalfa, corn, courgettes, beans and tomatoes.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Not data available.

Problems founded in the start-up, development or final application of the project:

Not problems reported.

Remarkable results:

The experimentation showed that treated wastewater applications instead of groundwater, attenuated the detrimental effect of water salinity on the crop. Drip irrigation, “Bas Rhône” system, showed the highest irrigation performances and crop yields. The morphology and the way the crop was conducted were found to play an important role in determining its final bacteriological quality. Irrigated crops and soils did nor shown any helminth eggs contaminations.

Information Sources:

El Hamouri, B., Handouf, A., Mekrane, M., Touzani, M., Khana, A., Khallayoune, K., Benchokroun T. Use of wastewater for crop production under arid and saline conditions: yield and hygienic quality of the crop and soil contaminations. Wat. Sci. Technol., 33 (10-11), pp. 327-334 (1996).

CASE 3: Wastewater reuse by infiltration-percolation in Morocco

Location:

Marrakech, Morocco.

Year of the project development:

1995.

Water origin:

The treatment plant receives a raw domestic wastewater from a tourist complex.

Volume (or flow) of water affected:

The plant has been designed to treat a flow of 300 to 1,000 PE.

Water treatment before reuse (technologies/process applied):

The treatment plant consisted of one anaerobic tank (capacity = 275 m3, depth = 7 m, detention time = 5 days), five infiltration basins (area = 5x300 m2) filled with 2 m of rapported sand (12% of clay-silt and 88% of sand).

The pretreated effluent, by anaerobic tank, was daily applied to sand filters alternatively until clogging.

Reclaimed water quality:

Table 22 summarizes the mean characteristics of the influent entering the treatment plant.

Table 22. Characteristics of the plant influent.

|  | pH | TSS* | COD* | d-COD* | TP* | d-TP* | PO4-P* | NH4-N* | TKN* |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Mean | 6.57 | 500 | 650 | 225 | 8.5 | 5.8 | 3.8 | 18 | 41.4 |

* mg/l

The system has a high capacity to remove both, particulate and dissolved organic matter (TSS 91%, COD 93% and d-COD 89 to 93%).

Table 23 summarizes the physical-chemical and microbial characteristics of water irrigation.

Table 23. Characteristics of water used for irrigation.

|  | Raw wastewater | Settled wastewater | Filtered wastewater |
| --- | --- | --- | --- |
| pH | 6.53 | 6.91 | 7.02 |
| PO4-P* | 10.18 | 3.34 | 0.028 |
| TP-P* | 11.49 | 5.26 | 0.29 |
| NH4-N* | 16.19 | 6.83 | 0.002 |
| NO2-N* | 0.013 | 1.04 | 0.012 |
| NO3-N* | 0.006 | 1.48 | 0.12 |
| TKN* | 30.21 | 11.06 | 2.12 |
| Faecal Coliform** | 21.9x105 | 36.25x102 | 41 |
| Faecal Streptocoque** | 17.6x103 | 6.6x101 | 13 |

* mg/l; ** UFC/ml

Water reuse applications:

Irrigation.

Total area affected by irrigation:

In order to test the fertilizer value of wastewater, ten experimental plots (area = 1 m2) were tied with ray grass (Lolium perenne) and irrigated, every two days, by the raw wastewater, settled wastewater and completely treated wastewater.

Types of products cultivated in irrigated areas:

Meadows.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Not data available.

Problems founded in the start-up, development or final application of the project:

At spring the infiltration - percolation plant presented a low percent removal efficiency due probably to overloaded influent.

Remarkable results:

The test allows to see the promising possibility to promote the nutritional of farm animals food by using treated wastewater.

Information Sources:

Ouazzani, N., Bousseljah, K., Abbas, Y. Reuse of wastewater treated by infiltration percolation. Wat. Sci. Technol., 33 (10-11), pp. 401-408, (1996).

CASE 4: Ville de Drargua Wastewater Treatment Plans

Location:

The Commune of Drarga is a commune which grows quickly in Souss-Massed (8,000 inhabitants).

Year of the project development:

The treatment plants have been in operation since 1999. Stages of the project:

1997: Study of feasibility

1997: Environmental impact study

1998: Convention of partnership sign

1998: Observation in the United States

1998: Design of the station

1999 - 2000: Construction

October 2000: Inauguration

May 2001: Beginning of the re-use

Water origin:

Urban water from 5,700 habitants.

Volume (or flow) of water affected:

600 m3/d.

Water treatment before reuse (technologies/process applied):

The plant counts on a system of infiltration-percolation with recirculation of the effluents. Also an primary treatment (aerobic basins), a secondary treatment (sand filters) and a tertiary treatment are included in the process. Reads drying of sludges and a storage tank of  purified water are other elements of the plant (see Figures 34 and 35).

Reclaimed water quality:

An analysis reveals the following parameters for the effluents:

Table 24. Effluent quality.

| Parameter | Influent | Yield (%) |
| --- | --- | --- |
| BOD (mg/L) | 625 | 98 |
| COD (mg/L) | 1,825 | 94 |
| TSS (mg/L) | 651 | 99 |
| TKN (mg N/L) | 317 | 96 |
| P-total (mh P/L) | - | 72 |
| Total Coliform | 1.6x107 | 99.9 |
| Helminth egg per litre | - | 100 |

Water reuse applications:

The water is used for irrigation (surface, microjet and drop by drop irrigation).

Total area affected by irrigation:

An average of 6 hectares belonging to a total of 12 farmers.

Types of products cultivated in irrigated areas:

Alfalfa, Ray-grass Italien, tomatoes, Zucchini and corn.

The impact of the water reuse on crops grow is shown in Table 25. The savings in fertilizers thanks to the use of this water can be observed in Table 26.

Table 25. Biomass yield.

|  | First cut yield (T/ha) |
| --- | --- |
| Alfalfa | 2.85 |
| Ray-Grass | 9.75 |

Table 26. Savings in fertilizer.

|  | Tomatoes | Zucchini | Alfalfa | Ray Grass | Italian | Corn |
| --- | --- | --- | --- | --- | --- | --- |
| Water requirements (m3/ha) | 8,000 | 5,000 | 12,000 | 10,000 | 4,000 | 4,800 |
| Nitrogen (kg/ha) | - | 248 | 155 | 372 | 310 | 124 |
| Phosphorus (kg/ha) | - | 352 | 220 | 528 | 440 | 176 |
| Potassium (kg/ha) | - | 408 | 255 | 612 | 510 | 204 |

Costs: total cost of the project; final cost of water reuse per cubic meter:

The total cost of the project has been 2 million US$ as follows:

Design: 200,000 US$; Construction: 800,000 US$; Equipment: 500,000 US$; Transport: 200,000 US$; Others: 300,000 US$

The costs of operation reach 2,000 US$ per month.

The Drarga project was designed to maximize use exploitation of all treated wastewater products. The treated wastewaters are sold to farmers and reused in irrigation, the reeds of the wetland are cut and sold, the residual sludge is dried and then composted with the organic wastes of Drarga, and the biogas of anaerobic basins will be recovered and converted to energy.

Problems founded in the start-up, development or final application of the project:

Not remarkable problems reported.

Remarkable results:

The costs of the treatment process are recovered following the recommendations of the Water Framework Directive, as follow: the methane of the anaerobic reactors is converted into energy. The purified wastewater is sold to the farmers for irrigation, the reeds are cut and sold, the sludge is dried and mixed with organic solid waste of Drarga in order to make compost.

Purified effluent is sold to the farmers through an association of users of water. This effluent has a high content of fertilizing elements (nitrogen, potassium, phosphorus) that makes it valuable. The result is the selling price of purified water 0.5 dirham/m3 (0.056 US$/m3) is competing with the alternative water sources.

With these actions, nowadays there are a completely lack of water problems in the village of Drarga and there is more water available for irrigation.

The agricultural production increased and the farmers save on the application of fertilizers. On the other hand, the values of the properties have increased in Drarga.

The station of treatment and re-use of wastewater of Drarga shows the use of non-conventional waters in a context of dryness.

Information sources:

All information was provided from the treatment plant representatives and by:

Aomar, J., Abdelmajid, K. Wastewater reuse in Morocco. Ministry of Agriculture, Rural Development and Water and Forests, Rural Engineering Administration, Development and Irrigation Management Directorate, (2002).

Figure 34: Drarga Treatment Plant.

Figure 35: Drarga Treatment Plant (Source: http://www.usaid.gov/ma/successstories/urbansanitation.htm).

Selected cases in Palestine

CASE 1: Wastewater reuse in Al-Beirah, Palestine

Location:

Al-Beirah city, West Bank, Palestine.

Year of the project development:

Al- Beirah wastewater treatment plant was developed in 2000.

Water origin:

Municipal wastewater.

Volume (or flow) of water affected:

The total volume of influent entering the plant is 3,200 m3/day.

Water treatment before reuse (technologies/process applied):

- Preparation of wastewater influent is accomplished by grit removal and screening.

- After that it is diverted equally to two parallel aeration tanks, the effluent of aeration tank is diverted to two parallel final clarifies, then most of the sludge goes to the thickener for dewatering.

- The water passing to clarify goes to disinfection, by Ultraviolet (UV) radiation.

The final effluent is discharged through Wadi Al-Ein, by 5 km pipeline, to be reused for irrigation in Dir-Dabwan land where large uncultivated areas existed there.

Reclaimed water quality:

Analysis reveals the following parameters for the effluent:

Table 27. Reclaimed water quality of Al-Beirah WWTP.

| Parameter | Unit | Influent | Effluent |
| --- | --- | --- | --- |
| BOD | mg/L | 500 | 10 |
| COD | mg/L | 1,000 | 90 |
| SS | mg/L | 10 | 10 |

Water reuse applications:

The treated water is used in irrigation.

Total area affected by irrigation:

About 2% of the treated wastewater is used for irrigation (60 m3/day) for 0.54 ha open area and 600m2 plastic houses.

Types of products cultivated in irrigated areas:

Almonds, apricots, peach, plum, orange, lemon, grapefruit, pecan, fig, walnut, pomegranate, mango, cherries, red cherries, Guava, and avocado.

Costs: total cost of the project; final cost of water reuse per cubic meter:

The construction cost of the wastewater treatment plant is about 7 million €. The total cost for treating one cubic meter is 0.32 €.

Problems founded in the start-up, development or final application of the project:

Since the plant is new and no overload is observed or projected for the next few years, the most important problem is a political one (continuous Israeli closures) prevents spare parts supply, which leads to ineffective maintenances. The operation costs are high, therefore it has to be covered by the consumer served by the WWTP, which will lead to efficient use of water resources and considered it as an economically good.

Remarkable results:

The results of the three-year operation of the plant have indicated that use of treated wastewater for food crops (pilot scale) irrigation is safe and acceptable. No adverse impacts in terms of soil or groundwater quality degradation were observed. Conventional farming practices were shown to be adequate and the marketability of the produce did not appear to pose any problems, and no project-related health problems were detected through medical examinations

Information Sources:

EQA. Data Base, 2003.

CASE 2: Planning wastewater reuse in the Gaza Strip

The quantity and quality of groundwater, the main water resource in the Gaza Strip, are being deteriorated. The aquifer is continuously over-pumped and the gap between water demand and water supply increases. The agriculture is the main consumer of groundwater. Wastewater reuse could be an option to cover part of the demand. The sewerage system serves only one third of the population in the Gaza Strip. The existing three wastewater treatment plants (Beit Lahia, Gaza and Rafah) are overloaded and impose serious environmental problems. The public acceptance to use treated wastewater is a crucial aspect to ensure the success of any reuse project. A sample of 79 farmers were questioned through a questionnaire especially designed to fulfil this purpose. The majority of farmers, 68 (86.1%), agreed completely to use the treated wastewater for irrigation of 2,856 donum (37,700 ha), 80.7% of the total targeted area. There is a master plan to construct three wastewater treatment plants which will replace the existed ones by year 2020.

Location:

Gaza Strip, Palestine.

Year of the project development:

2002-2020.

Water origin:

Municipal wastewater.

Volume (or flow) of water affected:

The existing wastewater treatment plants in different Governorates of Gaza Strip serve only Northern, Gaza and Rafah Governorates. However, not all houses in these Governorates are connected to the sewerage network. Despite that the existing three WWTPs are heavily overloaded as the actual flow far exceeds the design flow.  To solve these crucial growing problems, Ministry of Planning and International Cooperation, in close cooperation with Palestinian Water Authority, has identified locations for new three regional plants that will replace the existing ones by year 2020. Their location will be far away from the residential areas near the eastern border of the Gaza Strip. The planned capacity and quality criteria of effluent for the new treatment plants will be about 116.8 Mm3/year with a better effluent quality criteria (Class D) for irrigation than that of the already existed plants.

Water treatment before reuse (technologies/process applied):

Not data available.

Reclaimed water quality:

The current effluent quality of the Gaza WWTP is:

Table 28. Reclaimed water quality of Gaza WWTP.

| Parameter | Unit | Value |
| --- | --- | --- |
| PH | - | 7.7 |
| TKN | mgN/L | 57 |
| N-NH3 | mg/L | 18 |
| N-NO3 | mg/L | 27 |
| Phosphate | mg/L | 26 |
| Chloride | mg/L | 418 |
| Faecal Coliform | CFU/100 ml | 40 x 106 |

Source: Lyonnaise des Eaux-Khateeb & Alami, LEKA, 2002.

The quality of the effluent from Gaza and even Beit Lahia WWTPs would nearly meet class C standards whereas that of Rafah WWTP is of lower quality.

Water reuse applications:

Currently, the reuse of treated wastewater is very restricted to a few illegal irrigation sites beside the treatment plants. New plants will serve all Gaza Governorates, will avoid environmental problems imposed by the existed treatment plants and will offer a better effluent quantity and quality (Class D) for irrigation of many crops including citrus, olives and almonds and even for edible vegetables.

Total area affected by irrigation:

The irrigation of 2,856 donum (37,150 ha) is foreseen.

Types of products cultivated in irrigated areas:

Citrus, olives, almonds, alfalfa and edible vegetables.

Costs: total cost of the project; final cost of water reuse per cubic meter:

Not data available but most of the interviewed farmers 71 (89.9%) are welling to pay for treated wastewater.

Problems founded in the start-up, development or final application of the project:

High salinity of Gaza water.

Remarkable results:

The reuse of wastewater effluent for irrigation will no doubt save potable water for human usage in addition to introducing solutions for some environment problems. To ensure the successful use of wastewater in agriculture, perception of farmers toward wastewater reuse has been investigated. This was explored through conducting a questionnaire among the farmers.

Information Sources:

Tubail, K.M., A-Dadah, J.Y., Yassin, M.M. Present and prospect situation on wastewater and its possible reuse in the Gaza Strip (2003).

www.med-reunet.com/docs_upload/wastewater.pdf

Selected cases in Portugal

CASE 1: Wastewater reuse for irrigation in Portugal

Location:

Évora and Santo André, Portugal.

Year of the project development:

1995.

Water origin:

The study includes experiments with three types of reclaimed water: primary effluent, secondary effluent and facultative pond effluent.

Volume (or flow) of water affected:

Not data available.

Water treatment before reuse (technologies/process applied):

The secondary effluent proceeds from a high-rate trickling filter.

Reclaimed water quality:

The average chemical characteristics of the three types of treated wastewater are presented on Table 29.

Table 29. Reclaimed water quality of Gaza WWTP.

| Parameter | Effluent |
| --- | --- |
|  | Primary | Secondary | Facultative Pond |
| pH | 7.4 | 7.5 | 8.2 |
| TSS (mg/l) | 53.0 | 29.8 | 36.2 |
| BOD (mg/l) | 178.8 | 85.8 | 61.2 |
| COD (mg/l) | 358.5 | 223.5 | 92.6 |
| Org-N (mg/l N) | 12.94 | 9.48 | 13.39 |
| NH4-N (mg/l N) | 30.42 | 20.13 | 17.92 |
| NO3-N (mg/l N) | 0.97 | 1.78 | 1.29 |
| Tot-N (mg/l N) | 40.77 | 31.43 | 30.20 |
| Tot-P (mg/l N) | 89.64 | 103.65 | 14.58 |
| Conduct (S/cm) | 1,236 | 1,237.5 | 1,503 |
| Na (mg/l) | 118.6 | 129.7 | 142.5 |
| K (mg/l) | 22.3 | 24.7 | 36.8 |
| B (mg/l) | 0.68 | 0.76 | 1.53 |
| Hardness (ºF) | 9.84 | 9.75 | 31.9 |
| FC / 100 ml | 2.86x106 | 1.1x106 | 3.1x103 |
| FS / 100 ml | 5.0x105 | 1.0x105 | 6.8x102 |
| Helminth eggs / l | 56.2 | 22 | Nil |

Water reuse applications:

Irrigation water was applied by localised (drip) irrigation in experiments with facultative pond effluent. Furrow irrigation was used with primary and secondary effluents.

Total area affected by irrigation:

The assays were carried out in a total of 10 ha.

Types of products cultivated in irrigated areas:

A forage crop (sorghum), a cereal (maize) and an oil-bearing crop (sunflower).

Costs: total cost of the project; final cost of water reuse per cubic meter:

Not data available.

Problems founded in the start-up, development or final application of the project:

The removal efficiency of primary treatment was 97.6% for Faecal Coliform and 62% for Helminth eggs. However, primary effluent can be considered as highly contaminated. The microbial quality of the secondary effluent is only slightly better, as the mean removal of Faecal Coliform and Helminth eggs was 99% and 85% respectively regarding the raw wastewater. The effluent of the facultative pond was much better.

Remarkable results:

The irrigated crops did not show contamination of their consumable parts even when irrigated with the primary and secondary effluents, except the lower leaves of forage sorghum. This was due to the precautions taken when selecting the irrigation method and crops. It was found that no health risk occurred when using drip irrigation.

High yields were even obtained with the crops irrigated with the treated wastewater in comparison with the same crops irrigated with potable water and given commercial fertilizers. This indicates that important savings in commercial fertilizers are possible by using treated wastewater for irrigation.

Information Sources:

Marecos do Monte, H., Angelakis, A., Asano, T. Necessity and basis for establishment of European guidelines for reclaimed wastewater in the Mediterranean region. Wat. Sci. & Technol., 33 (10-11), pp. 303-316 (1996).

# Text boxes

13

11

12

10

15

14

3

2

7

8

9

1

MEDAWARE

ME8/AIDCO/2001/0515/59341-P033

6

17

b

a

16

4

20

3

5

19

18